Before the  Public Service Commission

Of the State of Missouri

| In the Matter of Kansas City Power & Light Company Regarding an Incident at the Hawthorn Station, Kansas City, Missouri, on February 17, 1999. | )))) | Case No. ES-99-581 |
| --- | --- | --- |

STAFF'S FINAL FILING AND MOTION TO CLOSE CASE 
COMES NOW the Staff of the Missouri Public Service Commission (Staff) and submits its final report into its investigation into the explosion of Kansas City Power & Light’s Hawthorn 5 boiler.

On March 27, 2001, KCPL and Staff filed a Stipulation and Agreement (Stipulation) in this case that contained, among other things, a requirement for KCPL to survey and test the Burner Management Systems at its other gas-fired generating facilities located in Missouri, and to report the results to the Commission no later than December 30, 2002.

On December 20, 2002, KCPL filed its Burner Management System (BMS) review report intended to comply with the Stipulation.  On January 10, 2003, Staff had a telephone discussion with KCPL personnel and asked for additional information that it believed was necessary to meet the requirements of the Stipulation, and also requested clarification on certain issues in the filed BMS review report.  In response to the Staff’s concerns, on April 9, 2003, KCPL filed an information supplement to its BMS report.

Staff has reviewed both filings of KCPL regarding the Stipulation in this case and believes that KCPL has met the requirements of the Stipulation and Agreement, and recommends that the case be closed.  KCPL and Staff have agreed to continue informal discussions on topics related to KCPL’s burner management systems that are of interest to Staff, but are beyond the scope of the requirements of the Stipulation.  Specific Staff’ comments can be found in the Staff Recommendation attached to this filing at Attachment A.

NP

WHEREFORE the Staff respectfully moves the Commission to accept its final report and  recommends that this case may be closed.

Respectfully submitted,

DANA K. JOYCE

General Counsel

/s/ Lera L. Shemwell

____________________________________

Lera L. Shemwell

Senior Counsel				Missouri Bar No. 43792

Attorney for the Staff of the

Missouri Public Service Commission

P. O. Box 360

Jefferson City, MO 65102

(573) 751-7431 (Telephone)

(573) 751-9285 (Fax)

lerashemwell@psc.state.mo.us

# Certificate of Service

I hereby certify that copies of the foregoing have been mailed, hand-delivered, transmitted by facsimile or emailed to all counsel of record this 20th day of May, 2003.

/s/ Lera L. Shemwell

____________________________________