Before the Public Service Commission

Of the State of Missouri

| In the Matter of the Application of Lake Region Water and Sewer Company for a Certificate of Convenience and Necessity authorizing it to acquire, own, operate, control, manage, and maintain a sewer system for the public for the public located in an unincorporated area in Camden and Miller Counties, Missouri. | )))))))) | Case No. SA-2004-0182 |
| --- | --- | --- |

STAFF'S MEMORANDUM AND RECOMMENDATION

COMES NOW the Staff of the Missouri Public Service Commission, by and through counsel, and, for its Memorandum and Recommendation, states to the Missouri Public Service Commission as follows:

## Procedural History

1.  On October 15, 2003, Lake Region Water and Sewer Company (“Applicant” or “Company”) filed with the Commission an Application, in which it requested that the Commission issue the Company a certificate of public convenience and necessity to provide sewer service in an unincorporated area of Camden County around the Lake of the Ozarks.  The requested service area is located in an area known as Cornett Cove, Horseshoe Bend, and is not contiguous with the Company’s existing Commission-authorized service area.

2.  The Company filed an Amended Application for authority to provide service to the Cornett Cove Subdivision on October 29, 2003.

3.  On November 12, 2003, the Commission issued a Notice of Deficiency, stating that the Amended Application failed to comply with the Commission’s minimum filing requirements.  The Company filed additional documentation to correct the noted deficiencies on November 17, 2003.

4.  On November 20, 2003, the Commission issued an order directing the Staff to file, by no later than December 12, 2003, its Memorandum and Recommendation advising whether the Company’s Amended Application should be granted.

## Staff’s Investigation of the Application

5.  The Staff’s investigation into the Company’s Amended Application included a review of the Amended Application and supporting attachments and discussions with the Company’s manager.  Staff members involved in various aspects of the Staff’s investigation included Dale Johansen, Jim Merciel, and Martin Hummel of the Commission’s Water & Sewer Department.

6.  The Commission laid down criteria for evaluating applications for certificates of convenience and necessity in In the Matter of the Application of Tartan Energy Company, 3 Mo. P.S.C. 3d 173 (1994).  It said in that case that, in order for a certificate to be granted, the Applicant must satisfy the following criteria:  (1) there must be a need for the service; (2) the applicant must be qualified to provide the proposed service; (3) the applicant must have the financial ability to provide the service; (4) the applicant’s proposal must be economically feasible; and (5) the service must promote the public interest.  Tartan Energy, at 177.

7.  Rule 4 CSR 240-3.305 (1) (A) 5 provides that an application for a certificate of convenience and necessity shall include:

A feasibility study containing plans and specifications for the utility system and estimated cost of the construction of the utility system during the first three (3) years of construction; plans for financing; proposed rates and charges and an estimate of the number of customers, revenues and expenses during the first three (3) years of operations[.]

8.  The feasibility study that the Company attached to its Amended Application as Appendix 4 fails to comply with the requirements of Rule 4 CSR 240-3.035 (1) (A) 5, in the following respects:

a.  The study does not contain plans and specifications for the utility system.  In fact, it does not even describe, in the most general terms, what type of plant and equipment will be utilized to provide sewer service.  The Company does not describe how the service, transportation and treatment of the wastewater is to be provided, except to say “Applicant intends to purchase all sewer plant serving the eighty-one lots.”  The size and type of the treatment plant is not given.

b.  The information on the cost of the construction of the utility system is not adequate.  The only data in the feasibility study that appears to possibly pertain to the construction cost are the numbers that appear in a column headed “annual Amot. Debt,” in the amount of $12,743 per year for each of the first three years of operation, and the numbers that appear in a column headed “Depr. Expense,” in the amount of $2,875 per year for each of the first three years of operation.  This fails to show what items are to be constructed and at what cost or what the overall cost of construction will be, or the number of years over which the debts are to be amortized or depreciated.

c.  The feasibility study does not contain any information whatsoever about the plans for financing.  It does not identify the current owner of the sewer system, nor tell the purchase price for the system, nor identify the source of funds that will be used to pay the purchase price.  The feasibility study does not include any amount for interest expense.

d.  The feasibility study does not tell what the Company’s rates and charges will be, nor estimate the number of customers the Company expects to serve during the first three years of operation.  The feasibility study shows tariff revenues of $24,825 per year for each of the first three years of operation, suggesting (without any supporting documentation) that there will be no growth, and that the proposed service territory is already fully developed.  But this is not plausible, since Exhibit A, filed November 17, 2003, shows only one landowner in the service territory, namely Steve Redford.  If Mr. Redford is the only landowner in an 81-lot subdivision, it would appear that he is the developer of an undeveloped subdivision.

e.  Although the feasibility study does contain estimates of the annual expenses for DNR permits, materials and lab supplies and testing, labor, depreciation expense, electric bills, legal fees, billing costs and water bills, it provides no insight into how these amounts were determined and affords the Staff no opportunity to determine the reasonableness of the estimates.

f.  It is impossible to determine, from the information provided, whether the Company’s proposal to provide sewer service to Cornett Cove is feasible.’

9.  The legal description of the proposed service area required by 4 CSR 240-3.305 (1) (A) 3 is ambiguous at best.  It would appear that it includes areas that are not in the proposed service territory and that the Applicant intends that the last two paragraphs of Appendix 3 to the Amended Application would comprise the legal description, but the Applicant nowhere so states, and it is not entirely clear that that is what was intended.

10.  The map that is attached to the Amended Application as Appendix 1 does not contain enough information to enable the Staff to locate the subdivision, does not provide information regarding the scale that was used, does not show which lots are to be included or the boundaries of the service area, and does not appear to comply with the requirements of Rule 4 CSR 240-3.305 (1) (A) 4.

11.  The Application contains no information from which the Staff could determine whether the Applicant is qualified to provide the proposed service, or whether the Applicant has the financial ability to provide the service, as required by Tartan Energy.

12.  The Staff notes that the Amended Application also fails to provide the following information:

a.  There is no statement on the status of negotiation regarding the purchase of plant from some assumed owner.

b.  There is no report on whether the plant is now operating or on the status of construction or on whether DNR construction or discharge permits have been obtained.

c.  The requested service area does not appear to be adjacent to the Applicant’s existing service territory as alleged in Paragraph 4 of the Amended Application, and no part of the requested service area lies in Miller County, as suggested by the style that Applicant gave to this case.

d.  The Amended Application contains no information regarding the current stage of development in the requested service area or about the need for service in the proposed service area, as required by Tartan Energy Company.  Nor does it contain any information about the need for service adjacent to the requested service area.

e.  The Amended Application does not reveal whether there are any unusual conditions that may affect the cost of, or complicate the provision of, service.

13.  The Staff has had some discussion with the Company’s manager, Mr. Fritz Ritter, about this Amended Application.  Mr. Ritter states that the Company is working on a large number of issues in trying to coordinate requests for service and in continuing to expand its service both inside and adjacent to the Company’s existing service area.  Applying for certificates is just one part of that process and the Company recognized that it was overdue.  Consequently, due to the press of other business, the applications for authority to serve Cornett Cove and other new service areas were submitted without adequate substantive information, and without Mr. Ritter’s direct oversight.

## Staff’s Conclusions Regarding the Amended Application

14.  The burden of proof in regard to an application for certificate of convenience and necessity is upon the applicant.

15.  Based upon its investigation of the Amended Application, the Staff has concluded that it cannot recommend to the Commission that a certificate of convenience and necessity be granted on the basis of the information provided in the Amended Application and supporting attachments.  Supplementing the Amended Application with minor clarifications will not be sufficient to remedy the defects in the pending Amended Application.  However, the Company may be able to provide information that will be sufficient to remedy these shortcomings.

## Additional Information

16.  During its investigation related to this case, the Staff also found that the Commission has not yet issued its normal “Order and Notice,” regarding the issuance of public notice of the Amended Application and the establishment of an intervention deadline.

## Staff’s Recommendations Regarding the Amended Application

17.  Based upon the above, the Staff recommends that the commission either deny the Amended Application (without prejudice to the Company filing a new application), or that the Commission issue an order directing the Company to file a supplement to the Amended Application that includes information sufficient for the Staff to form a meaningful recommendation to the Commission.

18.  If the Commission issues an order directing the Company to file a supplement to the Amended Application, the Staff also recommends that the Commission issue its normal “Order and Notice” in this case, and further that the date for filing the Staff’s recommendation be set for not later than 60 days after the intervention deadline.  Public notice in Miller County will not be required.

WHEREFORE, the Staff respectfully requests that the Commission issue an order consistent with the Staff’s recommendations contained herein.

Respectfully submitted,

DANA K. JOYCE

General Counsel

/s/ Keith R. Krueger

____________________________________

Keith R. Krueger

Deputy General Counsel

Missouri Bar No. 23857

Attorney for the Staff of the

Missouri Public Service Commission

P. O. Box 360

Jefferson City, MO 65102

(573) 751-4140 (Telephone)

(573) 751-9285 (Fax)

keith.krueger@psc.mo.gov

# Certificate of Service

I hereby certify that copies of the foregoing have been mailed, hand-delivered, transmitted by facsimile or electronically mailed to all counsel of record this 12th day of December 2003.

/s/ Keith R. Krueger

____________________________________