M E M O R A N D U M

TO:		Missouri Public Service Commission Official Case File

Case No. WR-2003-0385  (Tariff Work ID No. YW-2003-1759 and

Small Company Rate Increase Request Work ID No. QW-2003-0007)

### Cedar Hill Estates Water Company, Inc. – Water Service

FROM:	Wendell R. Hubbs – Project Coordinator

Water & Sewer Department

Leasha Teel – Accounting Department

Jeremy Hagemeyer – Accounting Department

John Cassidy – Accounting Department

Paul Adam – Engineering & Management Services Dept.

John Kiebel  – Engineering & Management Services Dept.

Roberta McKiddy – Financial Analysis Department

Arlie Smith – Water & Sewer Department

Steve Loethen – Water & Sewer Department

/s/ Wendell R. Hubbs	  	        	5/7/03

Project Coordinator - - Date

/s/ Cliff Snodgrass                                  5/7/03

General Counsel's Office - - Date

SUBJECT:	Staff's Recommendation for Approval of Tariff Revisions to Effect Changes in Customer Rates for Water Service, for Approval of Modified Depreciation Rates and for Approval of Agreement Regarding Disposition of Small Company Rate Increase Request

DATE:		May 7, 2003

##### Background

Cedar Hill Estates Water Company, Inc. ("Company") initiated the subject small company rate increase request ("Request") by submitting a letter to the Secretary of the Commission, which was received at the Commission's offices on August 15, 2002 (see Attachment A).  The Company submitted its Request under the provisions of Commission Rule 4 CSR 240-2.200, Small Company Rate Increase Procedure ("Small Company Rate Case Procedure").  Rule 4 CSR 240-2.200 is rescinded as of April 30, 2003, and Rule 4 CSR 240-3.635, the Commission’s Water Utility Small Company Rate Increase Procedure, is replacing the related water service portion of the rule.

In its Request, the Company represented that it was asking for Commission approval of customer rates intended to generate increases in its total annual water service operating revenues by $27,615.

Upon review and acceptance of the Company's Request, personnel in the Commission's Data Center first assigned Tracking File No. QW-2003-0007 to the Request, for purposes of identification and tracking, and forwarded the Request to the Commission's Water & Sewer Department ("W/S Dept.") for processing under the Small Company Rate Case Procedure.  By a letter dated September 3, 2002, which the W/S Dept. Staff had previously approved, the Company notified its customers of the Request (see Attachment B).  As a part of this notice, the Company requested that its customers' questions or comments be directed to the Commission Staff and/or the Office of the Public Counsel ("OPC").

## Staff's Investigation and Conclusions

As noted at the beginning of this Memorandum, Staff members from the Accounting, Engineering & Management Services, Financial Analysis and W/S Dept. participated in the Staff’s investigation of the Company’s Request.  All Staff participants, and all of their respective up-line supervisors, were provided a limited opportunity to review and comment on this Memorandum prior to it being filed.  Wendell R. Hubbs of the W/S Dept. created the initial draft of this Memorandum and comments received from the reviewers were incorporated therein to create this final version of the Memorandum.

In response to the Company's initial customer notice dated September 3, 2002, the Staff received 6 telephone calls and 3 letters.  The Office of the Public Counsel received one letter the Staff did not receive.  The customer contacts are listed at the end of this document with explanations as to the nature of the contact.  Additionally the Staff Report on Service Complaints is also attached (see Attachment G for all customer contact information).

Based upon an audit of the Company's books and records, a determination of the Company's rate base investments and necessary operating expenses, an evaluation of the Company's depreciation rates and an analysis of the Company's capital structure and cost of capital, the Staff concluded that an increase of $26, 052 in the Company's annual water service operating revenues is necessary for the Company to recover its cost of service.

Additionally, based upon its overall investigation of the Company's Request, the Staff concluded that certain changes in the Company’s service charges and general tariff provisions are needed.

Specifically the modification of the Late Payment Charge and the implementation of a Bad Check Charge of $20 per bad check were proposed.

The Staff also recommended the modification of the Door Collection Charge to $15 during regular working hours and $25 during other than regular working hours, to avoid disconnection.

Staff also recommended the implementation of an Emergency Call Out Charge of $25, this to be applied when the company is requested to shut off service where the emergency exists entirely on the customer owned facilities.

The Staff is also recommending that a Reconnection Charge of $50 be implemented applicable to reconnection after discontinuance of service.

The Staff is also recommending that a Temporary Turn-Off Charge of $25 for regular working hours and $35 for other than regular hours be implemented where the customer requests such turn-off for his convenience.

The Staff also is recommending that the New Service Connection Fee be modified from $115 to $475.

Also the Staff is recommending that the Meter Test Charge be increased from $10 to $25 for tests in excess of one per 12-month period.  One test per 12-month period is allowed free.

The Staff found that customers who were being served without a meter were being charged an extra $0.64 per month since the new owners have been operating the Company.  The Staff has recommended that all such non-metered customers who have been thusly overcharged be given a $0.64 credit to their bill for an 18-month period.

The Staff has also recommended updating the Company’s Rules and Regulations tariff sheets.  The currently effective Rules and Regulation sheets have provisions and definitions that are over 30 years old.

The Staff recommended that the Company read all meters and bill all customers on a monthly basis.  Some customers in the past were billed on their request on a quarterly basis and the Company was not reading all of its meters.

On December 9, 2002, KMB Utility Corporation and Cedar Hill Estates Water Company, Inc. filed an application in Case No. WM-2003-0194, whereby they requested the Commission’s authority to merge Cedar Hill into KMB.  KMB is to carry on the operations of Cedar Hill.  The Staff and the Company are of the opinion that proper rates will be established for both KMB and Cedar Hill as part of its current informal rate request processes and are of the opinion that the merger will not affect the appropriateness of the levels of rates recommended by the Staff and the Company in these Small Company Rate Increase Procedures.

Additionally, the Staff has determined that the Company’s currently approved depreciation rates need to be modified.   The proposed depreciation rates are contained as Attachment C of the Disposition Agreement.

By a letter dated February 27, 2003, the Staff forwarded information regarding the above items to representatives of the Company.  The Staff also provided this letter to the OPC for their review and response.

##### Responses to Staff's Findings and Subsequent Actions

Pursuant to negotiations held subsequent to the Company's and the OPC's receipt of the above-referenced information regarding the results of the Staff’s investigation of the Company's Request, a written Agreement Regarding Disposition of Small Company Rate Increase Request (“Disposition Agreement”) was reached between the Company and the Staff.  The Company and the Staff also reached an agreement regarding the tariff revisions needed to implement the terms of the Disposition Agreement.  The following agreements are contained in the Disposition Agreement. The Staff and the Company hereby state the following agreements.

(1)	That for the purpose of implementing the agreements set out herein, the Company will file tariff revisions with the Commission containing the rates, charges and language set out in the example tariff sheets its water service territory as attached hereto as Attachment A.  Additionally, the Company will submit the original signed version of this document with its tariff filing.

(2)		That the ratemaking income statement attached hereto as Attachment B reflects the Company's annualized water revenues generated by its current customer rates, the Staff determined level of increase needed by the Company for its annualized cost of providing service to be $26,052.

(3)	That the rates set out in the attached example tariff sheets are designed to generate revenues sufficient to recover the abovementioned increase.   Additionally, the provisions of the attached example tariff sheets also properly reflect all other agreements set out herein, where necessary.

(4)	That the rates included in the attached example tariff sheets are just and reasonable.

- That the depreciation rates set out on Attachment C hereto should be

the prescribed water plant depreciation rates for the Company, as these were the depreciation rates used by the Staff in its revenue requirement analysis.

(6)	That the Company will read all meters on a monthly basis, and will bill all customers on a monthly basis using such readings.

(7)	That the Company will apply a credit $.64 to each premise which it has billed a non-metered rate over the past 18 months, for 18 monthly billings.

(8)	That the proposed modification of the Late Payment Charge is reasonable.

- That the implementation of a Bad Check Charge of $20 per bad

check is reasonable.

- That the modification of the Door Collection Charge from $2 during regular working hours and $10 after regular working hours, to  $15 is reasonable.

- That the implementation of an Emergency Call Out Charge, where the emergency exists entirely on the customer owned facilities, of $25 is reasonable.

- That the implementation of a Reconnection Charge, after Company discontinuance of service, of $50 is reasonable.

- That the implementation of a Temporary Turn-off Charge totally for the customer’s convenience of $25 during regular working hours (8:00am to 5:00 pm) and of $35 during all other hours of the day, is reasonable.

- That the modification of a New Service Connection Fee for the installation of a new service line from the Company’s main to the customer’s property line, from $115 to $475 is reasonable.

- That an increase in the Meter Test Charge from $10 to $25 is reasonable.

- That updating the Company’s tariffed Rules and Regulations is reasonable.

(17)	That the above agreements satisfactorily resolve all issues identified by the Staff and the Company regarding the Company's Request, except as otherwise specifically stated herein.

Ruth O'Neill of the OPC requested that the Company send a “second notice” to its customers regarding the terms of the above-referenced Disposition Agreement.  By a letter dated April 11, 2003 (see Attachment C to this document), which the W/S Dept. Staff had previously approved, the Company notified its customers of the terms of the Disposition Agreement.  As a part of this notice, the Company requested that its customers' questions or comments be directed to the Staff and/or the OPC.  In response to this second customer notice, the Staff received two customer letters from the Company’s water customers.  These letters have been attached to the end of Attachment G to this recommendation.

By a letter that was filed by personnel in the Commission’s Data Center on April 3, 2003 (see Attachment D), the Company submitted the Disposition Agreement and the agreed-upon tariff revisions that are necessary to implement the terms of the Disposition Agreement, and the instant case was created.  As required by the Small Company Rate Case Procedure, the subject tariff revisions bore an effective date that was more than 45 days past the issue date.  As is also required by the Small Company Rate Case Procedure, the Company submitted the above-referenced Disposition Agreement with its tariff filing.  On May 5, 2003, the Commission issued an “ORDER DIRECTING STAFF TO FILE RECOMMENDATION.”

Additional Information

In addition to the above-noted Attachments, copies of the Staff’s final cost of service income statement and supporting accounting workpapers, the Staff's rate design worksheets and a residential customer bill comparison, all of which are consistent with the terms of the Company's proposed tariff revisions and the Disposition Agreement, are included with this Memorandum as Attachment E.  Additionally, a report from the Engineering and Management Services Department of the Commission is included with this Memorandum as Attachment F.  This report contains a general overview of the Company, its customer service procedures and practices and recommendations of the Engineering and Management Services Department.   Also included is Attachment G, which is a customer contact list and contact documents that shows the customer responses to proposed rate changes.

Pursuant to a review of available electronic information maintained by the Commission's Internal Accounting Department and Data Center, and through the Commission's Electronic Filing and Information System, the Staff notes that the Company was current on the payment of its Commission assessments and on the filing of its Commission annual reports when it submitted its Request, as is required by the Informal Rate Case Procedure.  The Staff also notes that the Company is current on both of those matters as of the writing of this Memorandum.  (The assessment information reviewed covers fiscal years 1996 through 2003, and the annual report information reviewed covers calendar years 1997 through 2002.)

Additionally, the Staff notes that the Company currently has no other matters pending before the Commission, and that approval of the subject tariff revisions will thus not affect any other matter before the Commission with regard to the Company.

Staff's Recommendations

Based upon the above, the Staff recommends that the Commission issue an order in this case that:

*	Approves the tariff revisions that the Company filed on April 3, 2003, to be effective for service rendered on and after May 21, 2003;

*	Approves the Disposition Agreement submitted in this case; and

*	Prescribes the depreciation rates attached to the Disposition Agreement in this case as those authorized for the Company to use.

## List of Attachments

Attachment A		Letter Requesting Rate Increase

Attachment B		Initial Customer Notice

Attachment C		Second Customer Notice

Attachment D		Company’s Tariff Filing Transmittal Letter,

Tariff Revisions and Disposition Agreement

Attachment E		Staff’s Final Cost of Service Income Statement, Accounting Workpapers,

Rate Design Worksheets and Residential Customer Bill Comparison

Attachment F		The Engineering Management Services Report

Attachment G		Customer Contact Information