## Cover
Evergy Services, Inc. (ESI) Evaluation, Measurement, and Verification Report – Commercial & Industrial Databook
Prepared for:
Submitted by:
Guidehouse, Inc.
1375 Walnut Street, Suite 100
Boulder, CO 80302
Tel: +1.303.728.2500
Guidehouse.com
Reference No.: 213765
2023-07-31
This deliverable was prepared by Guidehouse Inc. for the sole use and benefit of, and pursuant to a client relationship exclusively with Evergy Services, Inc. (“Client”). The work presented in this deliverable represents Guidehouse’s professional judgement based on the information available at the time this report was prepared. The information in this deliverable may not be relied upon by anyone other than Client. Accordingly, Guidehouse disclaims any contractual or other responsibility to others based on their access to or use of the deliverable.

## Program to Date - C&I Portfolio
Program to Date Energy Savings at the Customer Meter by Territory
Sector | Gross |  |  | Net
| Reported Savings (kWh) | Verified Savings (kWh) | Realization Rate (%) | MEEIA Cycle 3 3-Year Target (kWh) | Verified 3 -Year Savings (kWh) | Percentage of MEEIA 3-Year Target Achieved
Evergy Metro | 81813903.0019 | 83340800.5615 | 101.9% | 103671719.8545 | 72110658.6914 | 69.56%
Evergy MO West | 86241927.7567 | 84920344.0902 | 98.47% | 77133112.9189 | 73126861.4043 | 94.81%
Evergy TOTAL | 168055830.7586 | 168261144.6517 | 100.1% | 180804832.7734 | 145237520.0957 | 80.33%
Program to Date Demand Savings at the Customer Meter by Territory
Sector | Gross |  |  | Net
| Reported Savings (kW) | Verified Savings (kW) | Realization Rate (%) | MEEIA Cycle 3 3-Year Target (kW) | Verified 3 -Year Savings (kW) | Percentage of MEEIA 3-Year Target Achieved
Evergy Metro | 15775.2551 | 15054.4735 | 95.43% | 13538.2057 | 12985.134 | 95.91%
Evergy MO West | 20788.4003 | 15329.4119 | 73.74% | 9328.0181 | 13213.3708 | 141.7%
Evergy TOTAL | 36563.6554 | 30383.8854 | 83.1% | 22866.2238 | 26198.5048 | 114.6%

## PY3 - C&I Portfolio
PY3 Energy Savings at the Customer Meter by Territory
Sector | Gross |  |  | Net
| Reported Savings (kWh) | Verified Savings (kWh) | Realization Rate (%) | MEEIA Cycle 3 3-Year Target (kWh) | Verified PY3 Savings (kWh) | Percentage of MEEIA 3-Year Target Achieved
Evergy Metro | 29066893.4988 | 28125314.2354 | 96.76% | 103671719.8545 | 25004402.7412 | 24.12%
Evergy MO West | 37536572.7908 | 35316973.5765 | 94.09% | 77133112.9189 | 30722710.2547 | 39.83%
Evergy TOTAL | 66603466.2896 | 63442287.8119 | 95.25% | 180804832.7734 | 55727112.9958 | 30.82%
PY3 Demand Savings at the Customer Meter by Territory
Sector | Gross |  |  | Net
| Reported Savings (kW) | Verified Savings (kW) | Realization Rate (%) | MEEIA Cycle 3 3-Year Target (kW) | Verified PY3 Savings (kW) | Percentage of MEEIA 3-Year Target Achieved
Evergy Metro | 5521.8193 | 4814.4461 | 87.19% | 13538.2057 | 4273.462 | 31.57%
Evergy MO West | 11117.7632 | 6947.9237 | 62.49% | 9328.0181 | 6031.8942 | 64.66%
Evergy TOTAL | 16639.5825 | 11762.3698 | 70.69% | 22866.2238 | 10305.3562 | 45.07%

## PY3 - Evergy Metro
Evergy Services, Inc. (ESI) Evaluation, Measurement, and Verification Report – Commercial & Industrial Databook
Overall Portfolio: Evergy Metro Data Tables
Data is sourced to Guidehouse analysis unless otherwise noted.
Energy Savings at the Customer Meter – PY3
Sector | Program |  | Gross |  |  | Net
|  | Reported Savings (kWh) | Verified Savings (kWh) | Realization Rate (%) | MEEIA 3-Year Target (kWh) | Verified Savings (kWh) | % of MEEIA 3-Year Target Achieved
Commercial & Industrial EE Programs | Business ESP - Standard | 19457154.802 | 17716798.6645 | 91.06% | 53977377.4297 | 16512056.3553 | 30.59%
| Business ESP - Custom | 9584680.6968 | 10383457.5709 | 108.3% | 30239803.0328 | 8472901.3778 | 28.02%
| Process Efficiency | 25058 | 25058 | 100% | 19454539.392 | 19445.008 | 0.09995%
Educational Programs | Business Online Energy Audit | Online Energy Audit programs are not part of MEEIA Targets for Energy or Demand Savings.
Evergy Metro TOTAL |  | 29066893.4988 | 28125314.2354 | 96.76% | 103671719.8545 | 25004402.7412 | 24.12%
Note: Gross realization rates are the ratio of verified gross savings to reported gross savings and indicates the accuracy of deemed savings tracked by Evergy Metro.
Coincident Demand Savings at the Customer Meter – PY3
Sector | Program |  | Gross |  |  | Net
|  | Reported Savings (kW) | Verified Savings (kW) | Realization Rate (%) | MEEIA 3-Year Target (kW) | Verified Savings (kW) | % of MEEIA 3-Year Target Achieved
Commercial & Industrial EE Programs | Business ESP - Standard | 3459.8897 | 2974.4069 | 85.97% | 8522.6148 | 2772.1472 | 32.53%
| Business ESP - Custom | 2058.0003 | 1836.1099 | 89.22% | 4833.6325 | 1498.2657 | 31%
| Process Efficiency | 3.9293 | 3.9293 | 100% | 181.9584 | 3.0491 | 1.676%
Educational Programs | Business Online Energy Audit | Online Energy Audit programs are not part of MEEIA Targets for Energy or Demand Savings.
Evergy Metro TOTAL |  | 5521.8193 | 4814.4461 | 87.19% | 13538.2057 | 4273.462 | 31.57%
Note: Gross realization rates are the ratio of verified gross savings to reported gross savings and indicates the accuracy of deemed savings tracked by Evergy Metro.
Energy Savings at the Customer Meter – Program to Date
Sector | Program |  | Gross |  |  | Net
|  | Reported Savings (kWh) | Verified Savings (kWh) | Realization Rate (%) | MEEIA 3-Year Target (kWh) | Verified Savings (kWh) | % of MEEIA 3-Year Target Achieved
Commercial & Industrial EE Programs | Business ESP - Standard | 46837410.254 | 45568218.1856 | 97.29% | 53977377.4297 | 41494036.3756 | 76.87%
| Business ESP - Custom | 34951434.7479 | 37747524.3758 | 108% | 30239803.0328 | 30597177.3078 | 101.2%
| Process Efficiency | 25058 | 25058 | 100% | 19454539.392 | 19445.008 | 0.09995%
Educational Programs | Business Online Energy Audit | Online Energy Audit programs are not part of MEEIA Targets for Energy or Demand Savings.
Evergy Metro TOTAL |  | 81813903.0019 | 83340800.5615 | 101.9% | 103671719.8545 | 72110658.6914 | 69.56%
Note: Gross realization rates are the ratio of verified gross savings to reported gross savings and indicates the accuracy of deemed savings tracked by Evergy Metro.
Coincident Demand Savings at the Customer Meter – Program to Date
Sector | Program |  | Gross |  |  | Net
|  | Reported Savings (kW) | Verified Savings (kW) | Realization Rate (%) | MEEIA 3-Year Target (kW) | Verified Savings (kW) | % of MEEIA 3-Year Target Achieved
Commercial & Industrial EE Programs | Business ESP - Standard | 8842.5394 | 7855.086 | 88.83% | 8522.6148 | 7152.0472 | 83.92%
| Business ESP - Custom | 6928.7864 | 7195.4581 | 103.8% | 4833.6325 | 5830.0376 | 120.6%
| Process Efficiency | 3.9293 | 3.9293 | 100% | 181.9584 | 3.0491 | 1.676%
Educational Programs | Business Online Energy Audit | Online Energy Audit programs are not part of MEEIA Targets for Energy or Demand Savings.
Evergy Metro TOTAL |  | 15775.2551 | 15054.4735 | 95.43% | 13538.2057 | 12985.134 | 95.91%
Note: Gross realization rates are the ratio of verified gross savings to reported gross savings and indicates the accuracy of deemed savings tracked by Evergy Metro.
NTG Components by Program
Program Name | Free Ridership | Participant Spillover | Non-Participant Spillover | NTGR
Business EER - Standard | 0.159 | 0.076 | 0.015 | 93.2%
Business EER - Custom | 0.239 | 0.04 | 0.015 | 81.6%
Process Efficiency | 0.239 | 0 | 0.015 | 77.6%
Business Online Energy Audit | N/A - Savings not claimed in PY3
Benefit-Cost Ratios by Program and Cost Test – PY3
Sector | Program | Total Resource Cost Test | Societal Cost Test | Utility Cost Test | Participant Cost Test | Rate Impact Measure Test
Guidehouse
Commercial EE Programs | Business ESP - Standard | 0.8634 | 1.0257 | 1.9328 | 1.3941 | 0.56457
| Business ESP - Custom | 0.97936 | 1.2578 | 1.7261 | 1.8224 | 0.54905
| Process Efficiency | 0.011802 | 0.012219 | 0.012614 | 0.3118 | 0.012402
Total C&I Sector Level |  | 0.88867 | 1.0865 | 1.7931 | 1.5259 | 0.5534
*Ratios are based on net savings
**Guidehouse performed benefit-cost calculations on the Standard, Custom, and Process Efficiency programs. These programs represent the C&I EE portfolio.
Program Administrative Costs - PY3
Sector | Program | Rebate Costs | Program Admin Costs* | Total Costs | Benefits from Energy and Demand Savings | Total Net Benefits
Commercial EE Programs | Business ESP - Standard | 2016708.4288 | 1632983.01 | 3649691.4388 | 7054057.6054 | 3404366.1666
| Business ESP - Custom | 1010376.72 | 1531862.7 | 2542239.42 | 4388186.1189 | 1845946.6989
| Process Efficiency | 2004.64 | 188579.65 | 190584.29 | 2403.9904 | -188180.2996
Total C&I Sector Level** |  | 3029089.7888 | 3353425.36 | 6382515.1488 | 11444647.7147 | 5062132.5659
*Evergy allocates indirect program administrative costs to programs as a percentage of total budget. These costs are not tracked separately from direct program administrative costs and are therefore included in that total.
**Only C&I EE programs inluded, no portfolio-level costs.
Discount Rate Matrix - PY3
MEEIA 3 - Discount Rate Matrix
Benefit Cost Test
TRC | SCT | UCT | PCT | RIM
6.731% | 3% | 6.731% | 10% | 6.731%
Note: The EM&V report applied the following discount rates when calculating net present value.
Benefit-Cost Ratios by Program and Cost Test – Program to Date ($2020)
Sector | Program | Total Resource Cost Test | Societal Cost Test | Utility Cost Test | Participant Cost Test | Rate Impact Measure Test
Guidehouse
Commercial EE Programs | Business ESP - Standard | 0.9217 | 1.085 | 1.929 | 1.498 | 0.5632
| Business ESP - Custom | 0.9518 | 1.202 | 2.26 | 1.467 | 0.5942
| Process Efficiency | 0.0046708 | 0.0049935 | 0.0047928 | 0.3118 | 0.0047619
Total C&I Sector Level |  | 0.9228 | 1.121 | 2.012 | 1.483 | 0.5727
*Ratios are based on net savings
**Guidehouse performed benefit-cost calculations on the Standard, Custom, and Process Efficiency programs. These programs represent the C&I EE portfolio.
Program Administrative Costs - Program to Date ($2020)
Sector | Program | Rebate Costs | Program Admin Costs* | Total Costs | Benefits from Energy and Demand Savings | Total Net Benefits
Commercial EE Programs | Business ESP - Standard | 4372418.3296 | 4182466.7845 | 8554885.1141 | 16429464.0312 | 7874578.9171
| Business ESP - Custom | 3331896.7225 | 3199202.2643 | 6531098.9868 | 14737567.4638 | 8206468.477
| Process Efficiency | 1759.8735 | 447487.0747 | 449246.9482 | 2110.4632 | -447136.485
Total C&I Sector Level** |  | 7706074.9256 | 7829156.1235 | 15535231.0491 | 31169141.9582 | 15633910.909
*Evergy allocates indirect program administrative costs to programs as a percentage of total budget. These costs are not tracked separately from direct program administrative costs and are therefore included in that total.
**Only C&I EE programs inluded, no portfolio-level costs.

## PY3 - Evergy MO West
Evergy Services, Inc. (ESI) Evaluation, Measurement, and Verification Report – Commercial & Industrial Databook
Overall Portfolio: Evergy MO West Data Tables
Data is sourced to Guidehouse analysis unless otherwise noted.
Energy Savings at the Customer Meter – PY3
Sector | Program |  | Gross |  |  | Net
|  | Reported Savings (kWh) | Verified Savings (kWh) | Realization Rate (%) | MEEIA 3-Year Target (kWh) | Verified Savings (kWh) | % of MEEIA 3-Year Target Achieved
Commercial & Industrial EE Programs | Business ESP - Standard | 18832545.0908 | 16532559.3589 | 87.79% | 46646197.1989 | 15408345.3225 | 33.03%
| Business ESP - Custom | 18366395.7 | 18441487.4819 | 100.4% | 10016241.48 | 15048253.7852 | 150.2%
| Process Efficiency | 337632 | 342926.7357 | 101.6% | 20470674.24 | 266111.1469 | 1.3%
Educational Programs | Business Online Energy Audit | Online Energy Audit programs are not part of MEEIA Targets for Energy or Demand Savings.
Evergy MO West TOTAL |  | 37536572.7908 | 35316973.5765 | 94.09% | 77133112.9189 | 30722710.2547 | 39.83%
Note: Gross realization rates are the ratio of verified gross savings to reported gross savings and indicates the accuracy of deemed savings tracked by Evergy Metro.
Coincident Demand Savings at the Customer Meter – PY3
Sector | Program |  | Gross |  |  | Net
|  | Reported Savings (kW) | Verified Savings (kW) | Realization Rate (%) | MEEIA 3-Year Target (kW) | Verified Savings (kW) | % of MEEIA 3-Year Target Achieved
Commercial & Industrial EE Programs | Business ESP - Standard | 6603.191 | 3139.9192 | 47.55% | 7513.8897 | 2926.4047 | 38.95%
| Business ESP - Custom | 4461.6289 | 3761.9493 | 84.32% | 1586.6804 | 3069.7506 | 193.5%
| Process Efficiency | 52.9433 | 46.0552 | 86.99% | 227.448 | 35.7388 | 15.71%
Educational Programs | Business Online Energy Audit | Online Energy Audit programs are not part of MEEIA Targets for Energy or Demand Savings.
Evergy MO West TOTAL |  | 11117.7632 | 6947.9237 | 62.49% | 9328.0181 | 6031.8942 | 64.66%
Note: Gross realization rates are the ratio of verified gross savings to reported gross savings and indicates the accuracy of deemed savings tracked by Evergy Metro.
Energy Savings at the Customer Meter – Program to Date
Sector | Program |  | Gross |  |  | Net
|  | Reported Savings (kWh) | Verified Savings (kWh) | Realization Rate (%) | MEEIA 3-Year Target (kWh) | Verified Savings (kWh) | % of MEEIA 3-Year Target Achieved
Commercial & Industrial EE Programs | Business ESP - Standard | 45166494.0828 | 44509946.8118 | 98.55% | 46646197.1989 | 40164325.9493 | 86.1%
| Business ESP - Custom | 40270006.6739 | 39617107.5427 | 98.38% | 10016241.48 | 32246061.3081 | 321.9%
| Process Efficiency | 805427 | 793289.7357 | 98.49% | 20470674.24 | 716474.1469 | 3.5%
Educational Programs | Business Online Energy Audit | Online Energy Audit programs are not part of MEEIA Targets for Energy or Demand Savings.
Evergy MO West TOTAL |  | 86241927.7567 | 84920344.0902 | 98.47% | 77133112.9189 | 73126861.4043 | 94.81%
Note: Gross realization rates are the ratio of verified gross savings to reported gross savings and indicates the accuracy of deemed savings tracked by Evergy Metro.
Coincident Demand Savings at the Customer Meter – Program to Date
Sector | Program |  | Gross |  |  | Net
|  | Reported Savings (kW) | Verified Savings (kW) | Realization Rate (%) | MEEIA 3-Year Target (kW) | Verified Savings (kW) | % of MEEIA 3-Year Target Achieved
Commercial & Industrial EE Programs | Business ESP - Standard | 11477.5117 | 7719.6376 | 67.26% | 7513.8897 | 7006.9044 | 93.25%
| Business ESP - Custom | 9184.4453 | 7497.4092 | 81.63% | 1586.6804 | 6104.4177 | 384.7%
| Process Efficiency | 126.4433 | 112.3652 | 88.87% | 227.448 | 102.0488 | 44.87%
Educational Programs | Business Online Energy Audit | Online Energy Audit programs are not part of MEEIA Targets for Energy or Demand Savings.
Evergy MO West TOTAL |  | 20788.4003 | 15329.4119 | 73.74% | 9328.0181 | 13213.3708 | 141.7%
Note: Gross realization rates are the ratio of verified gross savings to reported gross savings and indicates the accuracy of deemed savings tracked by Evergy Metro.
NTG Components by Program
Program Name | Free Ridership | Participant Spillover | Non-Participant Spillover | NTGR
Business EER - Standard | 0.159 | 0.076 | 0.015 | 93.2%
Business EER - Custom | 0.239 | 0.04 | 0.015 | 81.6%
Process Efficiency | 0.239 | 0 | 0.015 | 77.6%
Business Online Energy Audit | N/A - Savings not claimed in PY3
Benefit-Cost Ratios by Program and Cost Test – PY3
Sector | Program | Total Resource Cost Test | Societal Cost Test | Utility Cost Test | Participant Cost Test | Rate Impact Measure Test
Guidehouse
Commercial EE Programs | Business ESP - Standard | 0.80834 | 0.96917 | 1.9919 | 1.3314 | 0.54623
| Business ESP - Custom | 1.0754 | 1.3208 | 2.1898 | 1.8386 | 0.56648
| Process Efficiency | 0.11756 | 0.11965 | 0.11597 | 4.7953 | 0.098157
Total C&I Sector Level |  | 0.91 | 1.1 | 2.03 | 1.55 | 0.55
*Ratios are based on net savings
**Guidehouse performed benefit-cost calculations on the Standard, Custom, and Process Efficiency programs. These programs represent the C&I EE portfolio.
Program Administrative Costs - PY3
Sector | Program | Rebate Costs | Program Admin Costs* | Total Costs | Benefits from Energy and Demand Savings | Total Net Benefits
Commercial EE Programs | Business ESP - Standard | 1919574.6864 | 1667605.68 | 3587180.3664 | 7145363.5421 | 3558183.1757
| Business ESP - Custom | 1788831.1 | 1447979.5 | 3236810.6 | 7087909.3709 | 3851098.7709
| Process Efficiency | 11236.6 | 173856.54 | 185093.14 | 21464.4417 | -163628.6983
Total C&I Sector Level** |  | 3719642.3864 | 3289441.72 | 7009084.1064 | 14254737.3547 | 7245653.2483
*Evergy allocates indirect program administrative costs to programs as a percentage of total budget. These costs are not tracked separately from direct program administrative costs and are therefore included in that total.
**Only C&I EE programs inluded, no portfolio-level costs.
Discount Rate Matrix - PY3
MEEIA 3 - Discount Rate Matrix
Benefit Cost Test
TRC | SCT | UCT | PCT | RIM
6.731% | 3% | 6.731% | 10% | 6.731%
Note: The EM&V report applied the following discount rates when calculating net present value.
Benefit-Cost Ratios by Program and Cost Test – Program to Date ($2020)
Sector | Program | Total Resource Cost Test | Societal Cost Test | Utility Cost Test | Participant Cost Test | Rate Impact Measure Test
Guidehouse
Commercial EE Programs | Business ESP - Standard | 0.8903 | 1.056 | 1.958 | 1.535 | 0.525
| Business ESP - Custom | 1.112 | 1.401 | 2.408 | 1.839 | 0.5688
| Process Efficiency | 0.12338 | 0.12673 | 0.12306 | 3.9397 | 0.10331
Total C&I Sector Level |  | 0.9677 | 1.181 | 2.094 | 1.664 | 0.5414
*Ratios are based on net savings
**Guidehouse performed benefit-cost calculations on the Standard, Custom, and Process Efficiency programs. These programs represent the C&I EE portfolio.
Program Administrative Costs - Program to Date ($2020)
Sector | Program | Rebate Costs | Program Admin Costs* | Total Costs | Benefits from Energy and Demand Savings | Total Net Benefits
Commercial EE Programs | Business ESP - Standard | 4726731.6172 | 3680998.0265 | 8407729.6437 | 16405856.1458 | 7998126.5022
| Business ESP - Custom | 3709946.8227 | 2715874.2031 | 6425821.0257 | 15495878.2548 | 9070057.2291
| Process Efficiency | 29845.6111 | 405841.6565 | 435687.2676 | 54681.5547 | -381005.7129
Total C&I Sector Level** |  | 8466524.051 | 6802713.886 | 15269237.937 | 31956415.9553 | 16687178.0183
*Evergy allocates indirect program administrative costs to programs as a percentage of total budget. These costs are not tracked separately from direct program administrative costs and are therefore included in that total.
**Only C&I EE programs inluded, no portfolio-level costs.

## PY2 - C&I Portfolio
PY2 Energy Savings at the Customer Meter by Territory
Sector | Gross |  |  | Net
| Reported Savings (kWh) | Verified Savings (kWh) | Realization Rate (%) | MEEIA Cycle 3 3-Year Target (kWh) | Verified 3 -Year Savings (kWh) | Percentage of MEEIA 3-Year Target Achieved
Evergy Metro | 24574932.0528 | 24950785.3716 | 101.5% | 103671719.8545 | 20100168.8632 | 19.39%
Evergy MO West | 29080142.1888 | 28972042.144 | 99.63% | 77133112.9189 | 23413060.3815 | 30.35%
Evergy TOTAL | 53655074.2416 | 53922827.5156 | 100.5% | 180804832.7734 | 43513229.2447 | 24.07%
PY2 Demand Savings at the Customer Meter by Territory
Sector | Gross |  |  | Net
| Reported Savings (kW) | Verified Savings (kW) | Realization Rate (%) | MEEIA Cycle 3 3-Year Target (kW) | Verified 3 -Year Savings (kW) | Percentage of MEEIA 3-Year Target Achieved
Evergy Metro | 4918.2433 | 4576.3366 | 93.05% | 13538.2057 | 3689.0907 | 27.25%
Evergy MO West | 6156.4493 | 4830.0069 | 78.45% | 9328.0181 | 3906.7367 | 41.88%
Evergy TOTAL | 11074.6926 | 9406.3435 | 84.94% | 22866.2238 | 7595.8274 | 33.22%

## PY2 - Evergy Metro
Evergy Services, Inc. (ESI) Evaluation, Measurement, and Verification Report – Commercial & Industrial Databook
Overall Portfolio: Evergy Metro Data Tables
Data is sourced to Guidehouse analysis unless otherwise noted.
Energy Savings at the Customer Meter – PY2
Sector | Program |  | Gross |  |  | Net
|  | Reported Savings (kWh) | Verified Savings (kWh) | Realization Rate (%) | MEEIA 3-Year Target (kWh) | Verified Savings (kWh) | % of MEEIA 3-Year Target Achieved
Commercial & Industrial EE Programs | Business ESP - Standard | 11162365 | 10386880 | 93.05% | 53977377.4297 | 8216022.08 | 15.22%
| Business ESP - Custom | 13412567.0528 | 14563905.3716 | 108.6% | 30239803.0328 | 11884146.7832 | 39.3%
| Process Efficiency | 0 | 0 | N/A | 19454539.392 | 0 | 0%
Educational Programs | Business Online Energy Audit | Online Energy Audit programs are not part of MEEIA Targets for Energy or Demand Savings.
Evergy Metro TOTAL |  | 24574932.0528 | 24950785.3716 | 101.5% | 103671719.8545 | 20100168.8632 | 19.39%
Note: Gross realization rates are the ratio of verified gross savings to reported gross savings and indicates the accuracy of deemed savings tracked by Evergy Metro.
Coincident Demand Savings at the Customer Meter – PY2
Sector | Program |  | Gross |  |  | Net
|  | Reported Savings (kW) | Verified Savings (kW) | Realization Rate (%) | MEEIA 3-Year Target (kW) | Verified Savings (kW) | % of MEEIA 3-Year Target Achieved
Commercial & Industrial EE Programs | Business ESP - Standard | 2467 | 1808 | 73.29% | 8522.6148 | 1430.128 | 16.78%
| Business ESP - Custom | 2451.2433 | 2768.3366 | 112.9% | 4833.6325 | 2258.9627 | 46.73%
| Process Efficiency | 0 | 0 | N/A | 181.9584 | 0 | 0%
Educational Programs | Business Online Energy Audit | Online Energy Audit programs are not part of MEEIA Targets for Energy or Demand Savings.
Evergy Metro TOTAL |  | 4918.2433 | 4576.3366 | 93.05% | 13538.2057 | 3689.0907 | 27.25%
Note: Gross realization rates are the ratio of verified gross savings to reported gross savings and indicates the accuracy of deemed savings tracked by Evergy Metro.
Energy Savings at the Customer Meter – Program to Date
Sector | Program |  | Gross |  |  | Net
|  | Reported Savings (kWh) | Verified Savings (kWh) | Realization Rate (%) | MEEIA 3-Year Target (kWh) | Verified Savings (kWh) | % of MEEIA 3-Year Target Achieved
Commercial & Industrial EE Programs | Business ESP - Standard | 46837410.254 | 45568218.1856 | 97.29% | 53977377.4297 | 41494036.3756 | 76.87%
| Business ESP - Custom | 34951434.7479 | 37747524.3758 | 108% | 30239803.0328 | 30597177.3078 | 101.2%
| Process Efficiency | 25058 | 25058 | N/A | 19454539.392 | 19445.008 | 0.09995%
Educational Programs | Business Online Energy Audit | Online Energy Audit programs are not part of MEEIA Targets for Energy or Demand Savings.
Evergy Metro TOTAL |  | 81813903.0019 | 83340800.5615 | 101.9% | 103671719.8545 | 72110658.6914 | 69.56%
Note: Gross realization rates are the ratio of verified gross savings to reported gross savings and indicates the accuracy of deemed savings tracked by Evergy Metro.
Coincident Demand Savings at the Customer Meter – Program to Date
Sector | Program |  | Gross |  |  | Net
|  | Reported Savings (kW) | Verified Savings (kW) | Realization Rate (%) | MEEIA 3-Year Target (kW) | Verified Savings (kW) | % of MEEIA 3-Year Target Achieved
Commercial & Industrial EE Programs | Business ESP - Standard | 8842.5394 | 7855.086 | 88.83% | 8522.6148 | 7152.0472 | 83.92%
| Business ESP - Custom | 6928.7864 | 7195.4581 | 103.8% | 4833.6325 | 5830.0376 | 120.6%
| Process Efficiency | 3.9293 | 3.9293 | N/A | 181.9584 | 0 | 0%
Educational Programs | Business Online Energy Audit | Online Energy Audit programs are not part of MEEIA Targets for Energy or Demand Savings.
Evergy Metro TOTAL |  | 15775.2551 | 15054.4735 | 95.43% | 13538.2057 | 12982.0848 | 95.89%
Note: Gross realization rates are the ratio of verified gross savings to reported gross savings and indicates the accuracy of deemed savings tracked by Evergy Metro.
NTG Components by Program
Program Name | Free Ridership | Participant Spillover | Non-Participant Spillover | NTGR
Business EER - Standard | 0.159 | 0.076 | 0.015 | 93.2%
Business EER - Custom | 0.239 | 0.04 | 0.015 | 81.6%
Process Efficiency | N/A - Savings not claimed in PY2
Business Online Energy Audit | N/A - Savings not claimed in PY2
Benefit-Cost Ratios by Program and Cost Test – PY2
Sector | Program | Total Resource Cost Test | Societal Cost Test | Utility Cost Test | Participant Cost Test | Rate Impact Measure Test
Guidehouse
Commercial EE Programs | Business ESP - Standard | 0.87577 | 1.0353 | 1.4315 | 1.5878 | 0.51675
| Business ESP - Custom | 0.98473 | 1.1907 | 2.121 | 1.6415 | 0.57553
| Process Efficiency | 0 | 0 | 0 | 0 | 0
Total C&I Sector Level |  | 0.92064 | 1.1023 | 1.7273 | 1.6176 | 0.54551
*Ratios are based on net savings
**Guidehouse performed benefit-cost calculations on the Standard, Custom, and Process Efficiency programs. These programs represent the C&I EE portfolio.
Program Administrative Costs - PY2
Sector | Program | Rebate Costs | Program Admin Costs* | Total Costs | Benefits from Energy and Demand Savings | Total Net Benefits
Commercial EE Programs | Business ESP - Standard | 1023704 | 1394472 | 2418176 | 3461534.8594 | 1043358.8594
| Business ESP - Custom | 1296310 | 1141698 | 2438008 | 5170924.87 | 2732916.87
| Process Efficiency | 0 | 141404 | 141404 | 0 | -141404
Portfolio | Portfolio Total** | 2320014 | 2677574 | 4997588 | 8632459.7294 | 3634871.7294
*Evergy allocates indirect program administrative costs to programs as a percentage of total budget. These costs are not tracked separately from direct program administrative costs and are therefore included in that total.
**Only C&I EE programs inluded, no portfolio-level costs.
Discount Rate Matrix - PY2
MEEIA 3 - Discount Rate Matrix
Benefit Cost Test
TRC | SCT | UCT | PCT | RIM
6.731% | 3% | 6.731% | 10% | 6.731%
Note: The EM&V report applied the following discount rates when calculating net present value.
Benefit-Cost Ratios by Program and Cost Test – Program to Date ($2020)
Sector | Program | Total Resource Cost Test | Societal Cost Test | Utility Cost Test | Participant Cost Test | Rate Impact Measure Test
Guidehouse
Commercial EE Programs | Business ESP - Standard | 0.9665 | 1.1337 | 1.9272 | 1.5788 | 0.5624
| Business ESP - Custom | 0.94211 | 1.1814 | 2.5471 | 1.3757 | 0.61262
| Process Efficiency | 0 | 0 | 0 | 0 | 0
Total C&I Sector Level |  | 0.94374 | 1.1433 | 2.1397 | 1.472 | 0.58256
*Ratios are based on net savings
**Guidehouse performed benefit-cost calculations on the Standard, Custom, and Process Efficiency programs. These programs represent the C&I EE portfolio.
Program Administrative Costs - Program to Date ($2020)
Sector | Program | Rebate Costs | Program Admin Costs* | Total Costs | Benefits from Energy and Demand Savings | Total Net Benefits
Commercial EE Programs | Business ESP - Standard | 2537354.2776 | 2660879.8168 | 5198234.0944 | 10018284.0098 | 4820049.9154
| Business ESP - Custom | 2363089.839 | 1782338.8562 | 4145428.6952 | 10558893.5107 | 6413464.8155
| Process Efficiency | 0 | 273010.4076 | 273010.4076 | 0 | -273010.4076
Portfolio | Portfolio Total** | 4900444.1166 | 4716229.0806 | 9616673.1972 | 20577177.5205 | 10960504.3233
*Evergy allocates indirect program administrative costs to programs as a percentage of total budget. These costs are not tracked separately from direct program administrative costs and are therefore included in that total.
**Only C&I EE programs inluded, no portfolio-level costs.

## PY2 - Evergy MO West
Evergy Services, Inc. (ESI) Evaluation, Measurement, and Verification Report – Commercial & Industrial Databook
Overall Portfolio: Evergy MO West Data Tables
Data is sourced to Guidehouse analysis unless otherwise noted.
Energy Savings at the Customer Meter – PY2
Sector | Program |  | Gross |  |  | Net
|  | Reported Savings (kWh) | Verified Savings (kWh) | Realization Rate (%) | MEEIA 3-Year Target (kWh) | Verified Savings (kWh) | % of MEEIA 3-Year Target Achieved
Commercial & Industrial EE Programs | Business ESP - Standard | 11967648 | 12439712 | 103.9% | 46646197.1989 | 9839812.192 | 21.09%
| Business ESP - Custom | 16644699.1888 | 16081967.144 | 96.62% | 10016241.48 | 13122885.1895 | 131%
| Process Efficiency | 467795 | 450363 | 96.27% | 20470674.24 | 450363 | 2.2%
Educational Programs | Business Online Energy Audit | Online Energy Audit programs are not part of MEEIA Targets for Energy or Demand Savings.
Evergy MO West TOTAL |  | 29080142.1888 | 28972042.144 | 99.63% | 77133112.9189 | 23413060.3815 | 30.35%
Note: Gross realization rates are the ratio of verified gross savings to reported gross savings and indicates the accuracy of deemed savings tracked by Evergy Metro.
Coincident Demand Savings at the Customer Meter – PY2
Sector | Program |  | Gross |  |  | Net
|  | Reported Savings (kW) | Verified Savings (kW) | Realization Rate (%) | MEEIA 3-Year Target (kW) | Verified Savings (kW) | % of MEEIA 3-Year Target Achieved
Commercial & Industrial EE Programs | Business ESP - Standard | 2309 | 1870 | 80.99% | 7513.8897 | 1479.17 | 19.69%
| Business ESP - Custom | 3773.9493 | 2893.6969 | 76.68% | 1586.6804 | 2361.2567 | 148.8%
| Process Efficiency | 73.5 | 66.31 | 90.22% | 227.448 | 66.31 | 29.15%
Educational Programs | Business Online Energy Audit | Online Energy Audit programs are not part of MEEIA Targets for Energy or Demand Savings.
Evergy MO West TOTAL |  | 6156.4493 | 4830.0069 | 78.45% | 9328.0181 | 3906.7367 | 41.88%
Note: Gross realization rates are the ratio of verified gross savings to reported gross savings and indicates the accuracy of deemed savings tracked by Evergy Metro.
Energy Savings at the Customer Meter – Program to Date
Sector | Program |  | Gross |  |  | Net
|  | Reported Savings (kWh) | Verified Savings (kWh) | Realization Rate (%) | MEEIA 3-Year Target (kWh) | Verified Savings (kWh) | % of MEEIA 3-Year Target Achieved
Commercial & Industrial EE Programs | Business ESP - Standard | 45166494.0828 | 44509946.8118 | 98.55% | 46646197.1989 | 40164325.9493 | 86.1%
| Business ESP - Custom | 40270006.6739 | 39617107.5427 | 98.38% | 10016241.48 | 32246061.3081 | 321.9%
| Process Efficiency | 805427 | 793289.7357 | 98.49% | 20470674.24 | 716474.1469 | 3.5%
Educational Programs | Business Online Energy Audit | Online Energy Audit programs are not part of MEEIA Targets for Energy or Demand Savings.
Evergy MO West TOTAL |  | 86241927.7567 | 84920344.0902 | 98.47% | 77133112.9189 | 73126861.4043 | 94.81%
Note: Gross realization rates are the ratio of verified gross savings to reported gross savings and indicates the accuracy of deemed savings tracked by Evergy Metro.
Coincident Demand Savings at the Customer Meter – Program to Date
Sector | Program |  | Gross |  |  | Net
|  | Reported Savings (kW) | Verified Savings (kW) | Realization Rate (%) | MEEIA 3-Year Target (kW) | Verified Savings (kW) | % of MEEIA 3-Year Target Achieved
Commercial & Industrial EE Programs | Business ESP - Standard | 11477.5117 | 7719.6376 | 67.26% | 7513.8897 | 7006.9044 | 93.25%
| Business ESP - Custom | 9184.4453 | 7497.4092 | 81.63% | 1586.6804 | 6104.4177 | 384.7%
| Process Efficiency | 126.4433 | 112.3652 | 88.87% | 227.448 | 102.0488 | 44.87%
Educational Programs | Business Online Energy Audit | Online Energy Audit programs are not part of MEEIA Targets for Energy or Demand Savings.
Evergy MO West TOTAL |  | 20788.4003 | 15329.4119 | 73.74% | 9328.0181 | 13213.3708 | 141.7%
Note: Gross realization rates are the ratio of verified gross savings to reported gross savings and indicates the accuracy of deemed savings tracked by Evergy Metro.
NTG Components by Program
Program Name | Free Ridership | Participant Spillover | Non-Participant Spillover | NTGR
Business EER - Standard | 0.159 | 0.076 | 0.015 | 93.2%
Business EER - Custom | 0.239 | 0.04 | 0.015 | 81.6%
Process Efficiency |  |  |  | 100%
Business Online Energy Audit | N/A - Savings not claimed in PY1
Guidehouse assumed a NTGR of 1 for the two Process Efficiency projects reported in PY2. Guidehouse will conduct NTG research for the Process Efficiency program in PY3
Benefit-Cost Ratios by Program and Cost Test – PY2
Sector | Program | Total Resource Cost Test | Societal Cost Test | Utility Cost Test | Participant Cost Test | Rate Impact Measure Test
Guidehouse
Commercial EE Programs | Business ESP - Standard | 0.90669 | 1.0884 | 1.6231 | 1.7271 | 0.48721
| Business ESP - Custom | 1.0804 | 1.392 | 2.5523 | 1.7018 | 0.57199
| Process Efficiency | 0.23152 | 0.23567 | 0.2333 | 3.5267 | 0.17141
Total C&I Sector Level |  | 0.99588 | 1.2485 | 2.0599 | 1.7155 | 0.53433
*Ratios are based on net savings
**Guidehouse performed benefit-cost calculations on the Standard, Custom, and Process Efficiency programs. These programs represent the C&I EE portfolio.
Program Administrative Costs - PY2
Sector | Program | Rebate Costs | Program Admin Costs* | Total Costs | Benefits from Energy and Demand Savings | Total Net Benefits
Commercial EE Programs | Business ESP - Standard | 1360888 | 1172751 | 2533639 | 4112408.4922 | 1578769.4922
| Business ESP - Custom | 1784113 | 1033790 | 2817903 | 7191996.6181 | 4374093.6181
| Process Efficiency | 19981 | 133632 | 153613 | 35837.9213 | -117775.0787
Portfolio | Portfolio Total** | 3164982 | 2340173 | 5505155 | 11340243.0316 | 5835088.0316
*Evergy allocates indirect program administrative costs to programs as a percentage of total budget. These costs are not tracked separately from direct program administrative costs and are therefore included in that total.
**Only C&I EE programs inluded, no portfolio-level costs.
Discount Rate Matrix - PY2
MEEIA 3 - Discount Rate Matrix
Benefit Cost Test
TRC | SCT | UCT | PCT | RIM
6.731% | 3% | 6.731% | 10% | 6.731%
Note: The EM&V report applied the following discount rates when calculating net present value.
Benefit-Cost Ratios by Program and Cost Test – Program to Date ($2020)
Sector | Program | Total Resource Cost Test | Societal Cost Test | Utility Cost Test | Participant Cost Test | Rate Impact Measure Test
Guidehouse
Commercial EE Programs | Business ESP - Standard | 0.93439 | 1.1076 | 1.9365 | 1.6512 | 0.51237
| Business ESP - Custom | 1.1385 | 1.4626 | 2.5891 | 1.8397 | 0.5705
| Process Efficiency | 0.12689 | 0.13124 | 0.12743 | 3.5267 | 0.10644
Total C&I Sector Level |  | 1.0027 | 1.2334 | 2.1357 | 1.7306 | 0.53436
*Ratios are based on net savings
**Guidehouse performed benefit-cost calculations on the Standard, Custom, and Process Efficiency programs. These programs represent the C&I EE portfolio.
Program Administrative Costs - Program to Date ($2020)
Sector | Program | Rebate Costs | Program Admin Costs* | Total Costs | Benefits from Energy and Demand Savings | Total Net Benefits
Commercial EE Programs | Business ESP - Standard | 2955664.9672 | 2143006.4119 | 5098671.3791 | 9873448.5163 | 4774777.1372
| Business ESP - Custom | 2026954.4697 | 1379460.851 | 3406415.3207 | 8819587.6315 | 5413172.3108
| Process Efficiency | 18720.1989 | 244780.8208 | 263501.0197 | 33576.5485 | -229924.4712
Portfolio | Portfolio Total** | 5001339.6358 | 3767248.0837 | 8768587.7195 | 18726612.6963 | 9958024.9768
*Evergy allocates indirect program administrative costs to programs as a percentage of total budget. These costs are not tracked separately from direct program administrative costs and are therefore included in that total.
**Only C&I EE programs inluded, no portfolio-level costs.

## PY1 - C&I Portfolio
Program to Date Energy Savings at the Customer Meter by Territory
Sector | Gross |  |  | Net
| Reported Savings (kWh) | Verified Savings (kWh) | Realization Rate (%) | MEEIA Cycle 3 3-Year Target (kWh) | Verified 3 -Year Savings (kWh) | Percentage of MEEIA 3-Year Target Achieved
Evergy Metro | 28172077.4503 | 30264700.9546 | 107.4% | 103671719.8545 | 27006087.087 | 26.05%
Evergy MO West | 19625212.7771 | 20631328.3696 | 105.1% | 77133112.9189 | 18991090.7682 | 24.62%
Evergy TOTAL | 47797290.2274 | 50896029.3242 | 106.5% | 180804832.7734 | 45997177.8552 | 25.44%
Program to Date Demand Savings at the Customer Meter by Territory
Sector | Gross |  |  | Net
| Reported Savings (kW) | Verified Savings (kW) | Realization Rate (%) | MEEIA Cycle 3 3-Year Target (kW) | Verified 3 -Year Savings (kW) | Percentage of MEEIA 3-Year Target Achieved
Evergy Metro | 5335.1925 | 5663.6908 | 106.2% | 13538.2057 | 5022.5813 | 37.1%
Evergy MO West | 3514.1878 | 3551.4813 | 101.1% | 9328.0181 | 3274.74 | 35.11%
Evergy TOTAL | 8849.3803 | 9215.1721 | 104.1% | 22866.2238 | 8297.3213 | 36.29%

## PY1 - Evergy Metro
Evergy Services, Inc. (ESI) Evaluation, Measurement, and Verification Report – Commercial & Industrial Databook
Overall Portfolio: Evergy Metro Data Tables
Data is sourced to Guidehouse analysis unless otherwise noted.
Energy Savings at the Customer Meter – PY1
Sector | Program |  | Gross |  |  | Net
|  | Reported Savings (kWh) | Verified Savings (kWh) | Realization Rate (%) | MEEIA 3-Year Target (kWh) | Verified Savings (kWh) | % of MEEIA 3-Year Target Achieved
Commercial & Industrial EE Programs | Business ESP - Standard | 16217890.452 | 17464539.5211 | 107.7% | 53977377.4297 | 16765957.9403 | 31.06%
| Business ESP - Custom | 11954186.9983 | 12800161.4334 | 107.1% | 30239803.0328 | 10240129.1467 | 33.86%
| Process Efficiency | 0 | 0 | N/A | 19454539.392 | 0 | N/A
Educational Programs | Business Online Energy Audit | Online Energy Audit programs are not part of MEEIA Targets for Energy or Demand Savings.
Evergy Metro TOTAL |  | 28172077.4503 | 30264700.9546 | 107.4% | 103671719.8545 | 27006087.087 | 26.05%
Note: Gross realization rates are the ratio of verified gross savings to reported gross savings and indicates the accuracy of deemed savings tracked by Evergy Metro.
Coincident Demand Savings at the Customer Meter – PY1
Sector | Program |  | Gross |  |  | Net
|  | Reported Savings (kW) | Verified Savings (kW) | Realization Rate (%) | MEEIA 3-Year Target (kW) | Verified Savings (kW) | % of MEEIA 3-Year Target Achieved
Commercial & Industrial EE Programs | Business ESP - Standard | 2915.6497 | 3072.6791 | 105.4% | 8522.6148 | 2949.772 | 34.61%
| Business ESP - Custom | 2419.5428 | 2591.0117 | 107.1% | 4833.6325 | 2072.8093 | 42.88%
| Process Efficiency | 0 | 0 | N/A | 181.9584 | 0 | N/A
Educational Programs | Business Online Energy Audit | Online Energy Audit programs are not part of MEEIA Targets for Energy or Demand Savings.
Evergy Metro TOTAL |  | 5335.1925 | 5663.6908 | 106.2% | 13538.2057 | 5022.5813 | 37.1%
Note: Gross realization rates are the ratio of verified gross savings to reported gross savings and indicates the accuracy of deemed savings tracked by Evergy Metro.
NTG Components by Program
Program Name | Free Ridership | Participant Spillover | Non-Participant Spillover | NTGR
Business EER - Standard | 0.05 | 0.002 | 0.004 | 96%
Business EER - Custom | 0.24 | 0.04 | 0 | 80%
Process Efficiency | N/A - Savings not claimed in PY1
Business Online Energy Audit | N/A - Savings not claimed in PY1
Benefit-Cost Ratios by Program and Cost Test – PY1
Sector | Program | Total Resource Cost Test | Societal Cost Test | Utility Cost Test | Participant Cost Test | Rate Impact Measure Test
Guidehouse
Commercial EE Programs | Business ESP - Standard | 1.01 | 1.19 | 2.31 | 1.57 | 0.59
| Business ESP - Custom | 0.91 | 1.17 | 3.07 | 1.2 | 0.65
| Process Efficiency | N/A | N/A | N/A | N/A | N/A
Total C&I Sector Level |  | 0.96 | 1.17 | 2.53 | 1.38 | 0.61
*Ratios are based on net savings
**Guidehouse performed benefit-cost calculations on the Standard, Custom, and Process Efficiency programs. These programs represent the C&I EE portfolio.
Program Administrative Costs - PY1
Sector | Program | Rebate Costs | Program Admin Costs* | Total Costs | Benefits from Energy and Demand Savings | Total Net Benefits
Commercial EE Programs | Business ESP - Standard | 1578246 | 1354399 | 2932645 | 6775172 | 3842527
| Business ESP - Custom | 1148577 | 712682 | 1861259 | 5714254 | 3852995
| Process Efficiency | 0 | 140529 | 140529 | 0 | -140529
Portfolio | Portfolio Total** | 2726823 | 2207610 | 4934433 | 12489426 | 7554993
*Evergy allocates indirect program administrative costs to programs as a percentage of total budget. These costs are not tracked separately from direct program administrative costs and are therefore included in that total.
**Only C&I EE programs inluded, no portfolio-level costs.
MEEIA 3 - Discount Rate Matrix
Benefit Cost Test
TRC | SCT | UCT | PCT | RIM
6.73% | 3% | 6.73% | 10% | 6.73%
Note: The EM&V report applied the following discount rates when calculating net present value.

## PY1 - Evergy MO West
Evergy Services, Inc. (ESI) Evaluation, Measurement, and Verification Report – Commercial & Industrial Databook
Overall Portfolio: Evergy MO West Data Tables
Data is sourced to Guidehouse analysis unless otherwise noted.
Energy Savings at the Customer Meter – PY1
Sector | Program |  | Gross |  |  | Net
|  | Reported Savings (kWh) | Verified Savings (kWh) | Realization Rate (%) | MEEIA 3-Year Target (kWh) | Verified Savings (kWh) | % of MEEIA 3-Year Target Achieved
Commercial & Industrial EE Programs | Business ESP - Standard | 14366300.992 | 15537675.4529 | 108.2% | 46646197.1989 | 14916168.4348 | 31.98%
| Business ESP - Custom | 5258911.7851 | 5093652.9167 | 96.86% | 10016241.48 | 4074922.3334 | 40.68%
| Process Efficiency | 0 | 0 | N/A | 20470674.24 | 0 | N/A
Educational Programs | Business Online Energy Audit | Online Energy Audit programs are not part of MEEIA Targets for Energy or Demand Savings.
Evergy MO West TOTAL |  | 19625212.7771 | 20631328.3696 | 105.1% | 77133112.9189 | 18991090.7682 | 24.62%
Note: Gross realization rates are the ratio of verified gross savings to reported gross savings and indicates the accuracy of deemed savings tracked by Evergy Metro.
Coincident Demand Savings at the Customer Meter – PY1
Sector | Program |  | Gross |  |  | Net
|  | Reported Savings (kW) | Verified Savings (kW) | Realization Rate (%) | MEEIA 3-Year Target (kW) | Verified Savings (kW) | % of MEEIA 3-Year Target Achieved
Commercial & Industrial EE Programs | Business ESP - Standard | 2565.3207 | 2709.7184 | 105.6% | 7513.8897 | 2601.3296 | 34.62%
| Business ESP - Custom | 948.8671 | 841.7629 | 88.71% | 1586.6804 | 673.4103 | 42.44%
| Process Efficiency | 0 | 0 | N/A | 227.448 | 0 | N/A
Educational Programs | Business Online Energy Audit | Online Energy Audit programs are not part of MEEIA Targets for Energy or Demand Savings.
Evergy MO West TOTAL |  | 3514.1878 | 3551.4813 | 101.1% | 9328.0181 | 3274.74 | 35.11%
Note: Gross realization rates are the ratio of verified gross savings to reported gross savings and indicates the accuracy of deemed savings tracked by Evergy Metro.
NTG Components by Program
Program Name | Free Ridership | Participant Spillover | Non-Participant Spillover | NTGR
Business EER - Standard | 0.05 | 0.002 | 0.004 | 96%
Business EER - Custom | 0.24 | 0.04 | 0 | 80%
Process Efficiency | N/A - Savings not claimed in PY1
Business Online Energy Audit | N/A - Savings not claimed in PY1
Benefit-Cost Ratios by Program and Cost Test – PY1
Sector | Program | Total Resource Cost Test | Societal Cost Test | Utility Cost Test | Participant Cost Test | Rate Impact Measure Test
Guidehouse
Commercial EE Programs | Business ESP - Standard | 0.95 | 1.12 | 2.21 | 1.6 | 0.53
| Business ESP - Custom | 1.38 | 1.76 | 2.72 | 2.47 | 0.57
| Process Efficiency | N/A | N/A | N/A | N/A | N/A
Total C&I Sector Level |  | 1.01 | 1.21 | 2.24 | 1.75 | 0.53
*Ratios are based on net savings
**Guidehouse performed benefit-cost calculations on the Standard, Custom, and Process Efficiency programs. These programs represent the C&I EE portfolio.
Program Administrative Costs - PY1
Sector | Program | Rebate Costs | Program Admin Costs* | Total Costs | Benefits from Energy and Demand Savings | Total Net Benefits
Commercial EE Programs | Business ESP - Standard | 1680649 | 1044256 | 2724905 | 6020533 | 3295628
| Business ESP - Custom | 355419 | 410903 | 766322 | 2081406 | 1315084
| Process Efficiency | 0 | 119581 | 119581 | 0 | -119581
Portfolio | Portfolio Total** | 2036068 | 1574740 | 3610808 | 8101939 | 4491131
*Evergy allocates indirect program administrative costs to programs as a percentage of total budget. These costs are not tracked separately from direct program administrative costs and are therefore included in that total.
**Only C&I EE programs inluded, no portfolio-level costs.
MEEIA 3 - Discount Rate Matrix
Benefit Cost Test
TRC | SCT | UCT | PCT | RIM
6.731% | 3% | 6.731% | 10% | 6.731%
Note: The EM&V report applied the following discount rates when calculating net present value.

## Business ESP - Standard
Evergy Services, Inc. (ESI) Evaluation, Measurement, and Verification Report – Commercial & Industrial Databook
Business Energy Savings Program - Standard: Data Tables
Executive Summary
Data is sourced to Guidehouse analysis unless otherwise noted.
Every Metro Program Savings Summary - PY3
| Gross |  |  | Net
| Reported Savings | Verified Savings | Realization Rate | MEEIA 3-Year Target | Verified Savings | % of MEEIA 3-Year Target Achieved
Energy at Customer Meter (kWh) | 19457154.802 | 17716798.6645 | 91.06% | 53977377.4297 | 16512056.3553 | 30.59%
Coinc Demand at Customer Meter (kW) | 3459.8897 | 2974.4069 | 85.97% | 8522.6148 | 2772.1472 | 32.53%
Source: Program Tracking Database and Guidehouse analysis
Every Metro Program Savings Summary - Program to Date
| Gross |  |  | Net
| Reported Savings | Verified Savings | Realization Rate | MEEIA 3-Year Target | Verified Savings | % of MEEIA 3-Year Target Achieved
Energy at Customer Meter (kWh) | 46837410.254 | 45568218.1856 | 97.29% | 53977377.4297 | 41494036.3756 | 76.87%
Coinc Demand at Customer Meter (kW) | 8842.5394 | 7855.086 | 88.83% | 8522.6148 | 7152.0472 | 83.92%
Source: Program Tracking Database and Guidehouse analysis
Evergy MO West Program Savings Summary - PY3
| Gross |  |  | Net
| Reported Savings | Verified Savings | Realization Rate | MEEIA 3-Year Target | Verified Savings | % of MEEIA 3-Year Target Achieved
Energy at Customer Meter (kWh) | 18832545.0908 | 16532559.3589 | 87.79% | 46646197.1989 | 15408345.3225 | 33.03%
Coinc Demand at Customer Meter (kW) | 6603.191 | 3139.9192 | 47.55% | 7513.8897 | 2926.4047 | 38.95%
Source: Program Tracking Database and Guidehouse analysis
Evergy MO West Program Savings Summary - Program to Date
| Gross |  |  | Net
| Reported Savings | Verified Savings | Realization Rate | MEEIA 3-Year Target | Verified Savings | % of MEEIA 3-Year Target Achieved
Energy at Customer Meter (kWh) | 45166494.0828 | 44509946.8118 | 98.55% | 46646197.1989 | 40164325.9493 | 86.1%
Coinc Demand at Customer Meter (kW) | 11477.5117 | 7719.6376 | 67.26% | 7513.8897 | 7006.9044 | 93.25%
Source: Program Tracking Database and Guidehouse analysis
Net to Gross Component Summary
Free Ridership | Participant Spillover | Non-Participant Spillover | NTGR
0.159 | 0.076 | 0.015 | 93.2%
Note: The NTG ratio is rounded to the nearest 100th.
Evergy Metro Savings by Measure Type
Measure Type | Total Number of Measures | Reported Energy Savings (kWh) | Verified Energy Savings (kWh) | Energy Realization Rate | % of Total Verified Energy (%) | Reported Demand Savings (kW) | Verified Demand Savings (kW) | Demand Realization Rate | % of Total Verified Demand (%)
Lighting | 862 | 17463723.7701 | 16091406.4348 | 92.14% | 90.83% | 2987.5806 | 2767.9444 | 92.65% | 93.06%
Lighting Control | 6 | 16238.9782 | 14205.6378 | 87.48% | 0.08018% | 10.5535 | 8.2882 | 78.54% | 0.2787%
Cooling | 73 | 551979.2683 | 598138.9429 | 108.4% | 3.376% | 195.8234 | 71.2746 | 36.4% | 2.396%
HVAC | 41 | 1148156.7854 | 665604.449 | 57.97% | 3.757% | 234.2922 | 87.2277 | 37.23% | 2.933%
Pumps/Fans | 1 | 277056 | 347443.2 | 125.4% | 1.961% | 31.64 | 39.672 | 125.4% | 1.334%
Total | 983 | 19457154.802 | 17716798.6645 | 91.06% | 100% | 3459.8897 | 2974.4069 | 85.97% | 100%
Source: Program Tracking Database and Guidehouse analysis
Evergy MO West Savings by Measure Type
Measure Type | Total Number of Measures | Reported Energy Savings (kWh) | Verified Energy Savings (kWh) | Energy Realization Rate | % of Total Verified Energy (%) | Reported Demand Savings (kW) | Verified Demand Savings (kW) | Demand Realization Rate | % of Total Verified Demand (%)
Lighting | 1059 | 12401004.7005 | 13234922.4803 | 106.7% | 80.05% | 2217.115 | 2419.6265 | 109.1% | 77.06%
Lighting Control | 7 | 19142.0726 | 18726.0128 | 97.83% | 0.1133% | 7.3643 | 7.4952 | 101.8% | 0.2387%
Cooling | 170 | 4643837.4199 | 1416051.4746 | 30.49% | 8.565% | 3973.2126 | 305.3482 | 7.685% | 9.725%
HVAC | 60 | 342845.4178 | 250374.8312 | 73.03% | 1.514% | 61.8446 | 35.6345 | 57.62% | 1.135%
Pumps/Fans | 15 | 1403648.96 | 1584676.04 | 112.9% | 9.585% | 340.652 | 368.1572 | 108.1% | 11.73%
Refrigeration | 4 | 22066.52 | 27808.52 | 126% | 0.1682% | 3.0025 | 3.6576 | 121.8% | 0.1165%
Total | 1315 | 18832545.0908 | 16532559.3589 | 87.79% | 100% | 6603.191 | 3139.9192 | 47.55% | 100%
Source: Program Tracking Database and Guidehouse analysis
Additional Detail
Verified Inputs for Lighting Projects
Building Type | Verified (Guidehouse Analysis and IL TRM) |  |  |  | Total Number of Loggers Installed
| Waste Heat Factor (Energy) | Waste Heat Factor (Demand) | Revised Coincident Factor (CF) | Revised Hours of Use (HOU)
Industrial | 1.0199 | 1.0398 | 0.63952 | 4584.1978 | 33
Office | 1.1075 | 1.3058 | 0.69254 | 3635.5783 | 29
Other | 1.08 | 1.3 | 0.73224 | 4924.6831 | 61
Retail | 1.1223 | 1.2909 | 0.74488 | 4920.8006 | 103
School | 1.095 | 1.435 | 0.62507 | 3642.1243 | 45
Warehouse | 1.02 | 1.17 | 0.54654 | 3611.4342 | 60
Exterior | 1 | 1 | 0 | 5391.9547 | 18
Source: Program Tracking Database and Guidehouse analysis and Illinois TRM
Evergy Metro Data Tables
Measures with 2% or more program level savings and their effect on Program Level Realization Rate
Measure name | Primary Key | Reported Energy Savings (kWh) | Reported Demand Savings (kW) | Verified Energy Savings (kWh) | Verified Demand Savings (kW) | Energy Realization Rate (%) | Demand Realization Rate (%) | % of Total Verified Energy (%) | % of Total Verified Demand (%) | Effect on Energy Realization Rate | Effect on Demand Realization Rate
Interior LED Linear Lamp Replacing 4ft T8, T12, or T5 Lamp | 166.4 | 5543598.918 | 1090.5245 | 6125911.0379 | 1345.1357 | 110.5% | 123.3% | 34.58% | 45.22% | 7.749% | 17.2%
Interior LED Fixture Replacing >850W HID Fixture | 580 | 3718174.4058 | 730.6584 | 1490676.2715 | 268.7869 | 40.09% | 36.79% | 8.414% | 9.037% | -12.04% | -13.17%
Interior T12/T8 4' 3-6 Lamp Fixture Replaced by LED Fixture | 566 | 1106523.6474 | 217.5386 | 1085409.5153 | 222.8831 | 98.09% | 102.5% | 6.126% | 7.493% | 0.4243% | 1.106%
Parking Garage LED Fixture or Screw-Base LED Lamp Replacing HID or Fluorescent Fixture <=130W | 589 | 993082.608 | 113.288 | 669638.0711 | 76.3904 | 67.43% | 67.43% | 3.78% | 2.568% | -1.271% | -0.6275%
Exterior LED Replacing HID or Fluorescent Fixture 301-500W | 587 | 774050.3186 | 0 | 916588.725 | 1.1275 | 118.4% | #DIV/0! | 5.174% | 0.03791% | 1.134% | 0.03259%
Interior T5/T5HO 4' 3-6 Lamp Fixture Replaced by LED Fixture | 570 | 767826.5805 | 150.911 | 831365.423 | 147.1338 | 108.3% | 97.5% | 4.693% | 4.947% | 0.7074% | 0.5258%
Interior LED Fixture Replacing 301-500W HID Fixture | 578 | 590070.4965 | 115.971 | 531259.3055 | 97.6223 | 90.03% | 84.18% | 2.999% | 3.282% | -0.03197% | -0.06208%
Exterior LED Replacing HID or Fluorescent Fixture >500W | 588 | 512190.393 | 0 | 652404.1987 | 0 | 127.4% | #DIV/0! | 3.682% | 0% | 0.9819% | 0%
VFD for HVAC Supply and Return Fans 1-5 HP | 592 | 465547.1284 | 67.1364 | 260158.6891 | 37.5169 | 55.88% | 55.88% | 1.468% | 1.261% | -0.6592% | -0.5954%
Interior T12/T8 8' 1-2 Lamp Fixture Replaced by LED Retofit Kit | 573 | 418806.4986 | 82.2753 | 352187.4585 | 63.0265 | 84.09% | 76.6% | 1.988% | 2.119% | -0.1532% | -0.2281%
VFD for HVAC Supply and Return Fans 6-15 HP | 593 | 316254.0264 | 45.6064 | 158127.0131 | 22.8031 | 50% | 50% | 0.8925% | 0.7666% | -0.5415% | -0.4804%
Other Measures |  | 4251029.7808 | 845.9801 | 4643072.9558 | 691.9806 | 109.2% | 81.8% | 26.21% | 23.26% | 5.079% | -1.35%
TOTAL |  | 19457154.802 | 3459.8897 | 17716798.6645 | 2974.4069 | 91.06% | 85.97% | 100% | 100%
Source: Program Tracking Database and Guidehouse analysis
Savings by Building Type
Program | Building Type | Total Number of Measures | Reported Energy Savings (kWh) | Verified Energy Savings (kWh) | Energy Realization Rate (%) | % of Total Verified Energy (%) | Reported Demand Savings (kW) | Verified Demand Savings (kW) | Demand Realization Rate | % of Total Verified Demand (%)
Standard- Evergy Metro | Exterior | 13 | 250046.4694 | 275302.8771 | 110.1% | 1.554% | 0 | 0 | #DIV/0! | 0%
| Industrial | 58 | 4149083.1312 | 2047198.5201 | 49.34% | 11.56% | 771.7427 | 328.3166 | 42.54% | 11.04%
| Office | 478 | 6918080.6267 | 7088002.8333 | 102.5% | 40.01% | 1334.1866 | 1509.3705 | 113.1% | 50.75%
| Other | 38 | 796122.6489 | 874270.7628 | 109.8% | 4.935% | 137.6608 | 147.0832 | 106.8% | 4.945%
| Retail | 192 | 2014293.0008 | 2140431.1426 | 106.3% | 12.08% | 260.5209 | 227.4424 | 87.3% | 7.647%
| School | 54 | 1182166.344 | 1432937.0145 | 121.2% | 8.088% | 316.1201 | 227.3832 | 71.93% | 7.645%
| Warehouse | 121 | 2586704.4091 | 2435147.1669 | 94.14% | 13.74% | 461.8764 | 370.8677 | 80.3% | 12.47%
| Parking Garage* | 29 | 1560658.1719 | 1423508.3471 | 91.21% | 8.035% | 177.7822 | 163.9433 | 92.22% | 5.512%
| Total | 983 | 19457154.802 | 17716798.6645 | 91.06% | 100% | 3459.8897 | 2974.4069 | 85.97% | 100%
Source: C&I Standard Tracking Databases and Guidehouse analysis
*Lighting measures installed in parking garages were separated out from other projects since the waste heat factor for garages are 1.0, the coincidence factor is 1.0, and the HOU is assumed to be 8760
Evergy MO West Data Tables
Measures with 2% or more program level savings and their effect on Program Level Realization Rate
Measure name | Primary Key | Reported Energy Savings (kWh) | Reported Demand Savings (kW) | Verified Energy Savings (kWh) | Verified Demand Savings (kW) | Energy Realization Rate (%) | Demand Realization Rate (%) | % of Total Verified Energy (%) | % of Total Verified Demand (%) | Effect on Energy Realization Rate | Effect on Demand Realization Rate
Interior LED Linear Lamp Replacing 4ft T8, T12, or T5 Lamp | 166.4 | 5793027.306 | 1139.5915 | 6277835.4427 | 1336.2655 | 108.4% | 117.3% | 37.97% | 42.56% | 9.144% | 14.54%
Air-Cooled Chiller with Condenser >= 150 tons | 512 | 2362320.24 | 2332.4562 | 157732.0454 | 43.4219 | 6.677% | 1.862% | 0.9541% | 1.383% | -11.63% | -24.95%
Interior T12/T8 4' 3-6 Lamp Fixture Replaced by LED Fixture | 566 | 1931733.948 | 379.772 | 1933402.5325 | 391.9181 | 100.1% | 103.2% | 11.69% | 12.48% | 1.406% | 3.396%
Air-Cooled Chiller with Condenser < 150 tons | 511 | 1056410.124 | 1014.9756 | 69911.5566 | 18.5457 | 6.618% | 1.827% | 0.4229% | 0.5906% | -4.824% | -8.305%
Interior LED Fixture Replacing 301-500W HID Fixture | 578 | 889853.4384 | 174.8896 | 806265.1921 | 146.674 | 90.61% | 83.87% | 4.877% | 4.671% | 0.1398% | 0.988%
Interior T5/T5HO 4' 3-6 Lamp Fixture Replaced by LED Fixture | 570 | 543849.2199 | 106.8898 | 561625.9895 | 102.6859 | 103.3% | 96.07% | 3.397% | 3.27% | 0.4604% | 0.7983%
High Volume Low Speed Fans (24ft Diameter) | 118.1 | 540972 | 199.8 | 540972 | 199.8 | 100% | 100% | 3.272% | 6.363% | 0.3612% | 1.637%
Variable Speed Drive Compressor - 3 shift weekdays plus weekends | 125.1 | 540259.2 | 61.698 | 666956.16 | 76.1548 | 123.5% | 123.4% | 4.034% | 2.425% | 1.053% | 0.7157%
Exterior LED Replacing HID or Fluorescent Fixture 301-500W | 587 | 502648.0602 | 0 | 564274.3487 | 0 | 112.3% | #DIV/0! | 3.413% | 0% | 0.6711% | 0%
Interior T12/T8 4' 3-6 Lamp Fixture Replaced by LED Retofit Kit | 572 | 365027.355 | 71.6862 | 375169.5017 | 76.1774 | 102.8% | 106.3% | 2.269% | 2.426% | 0.2963% | 0.6444%
Exterior LED Replacing HID or Fluorescent Fixture >500W | 588 | 347668.6304 | 0 | 428380.256 | 0 | 123.2% | #DIV/0! | 2.591% | 0% | 0.6663% | 0%
Variable Speed Drive Compressor - 2 shift weekdays | 123.1 | 309263.76 | 74.354 | 363593.88 | 87.4024 | 117.6% | 117.5% | 2.199% | 2.784% | 0.4972% | 0.7972%
Packaged DX 135 - 240kbtu | 360.2 | 307575.1563 | 68.438 | 250606.0246 | 55.1028 | 81.48% | 80.51% | 1.516% | 1.755% | -0.1048% | 0.3452%
Other Measures |  | 3341936.6526 | 978.6401 | 3535834.4292 | 605.7706 | 105.8% | 61.9% | 21.39% | 19.29% | 3.887% | 2.496%
TOTAL |  | 18832545.0908 | 6603.191 | 16532559.3589 | 3139.9192 | 87.79% | 47.55% | 100% | 100%
Source: Program Tracking Database and Guidehouse analysis
Savings by Building Type
Program | Building Type | Total Number of Measures | Reported Energy Savings (kWh) | Verified Energy Savings (kWh) | Energy Realization Rate (%) | % of Total Verified Energy (%) | Reported Demand Savings (kW) | Verified Demand Savings (kW) | Demand Realization Rate | % of Total Verified Demand (%)
Standard- Evergy MO West | Exterior | 39 | 203027.1581 | 248879.4035 | 122.6% | 1.505% | 0 | 0 | #DIV/0! | 0%
| Industrial | 67 | 1351133.1896 | 1488476.3096 | 110.2% | 9.003% | 237.2591 | 242.7433 | 102.3% | 7.731%
| Office | 312 | 2539319.8119 | 2419570.1569 | 95.28% | 14.64% | 466.3933 | 482.8258 | 103.5% | 15.38%
| Other | 100 | 847478.3407 | 1064191.8471 | 125.6% | 6.437% | 161.046 | 179.9665 | 111.7% | 5.732%
| Retail | 347 | 2871487.3598 | 3427000.5325 | 119.3% | 20.73% | 476.1172 | 510.1609 | 107.2% | 16.25%
| School | 350 | 9051452.3665 | 6085260.1027 | 67.23% | 36.81% | 4797.6159 | 1328.8591 | 27.7% | 42.32%
| Warehouse | 88 | 1856231.3451 | 1611906.1212 | 86.84% | 9.75% | 444.9185 | 373.8186 | 84.02% | 11.91%
| Parking Garage* | 12 | 112415.5191 | 187274.8855 | 166.6% | 1.133% | 19.841 | 21.5449 | 108.6% | 0.6862%
| Total | 1315 | 18832545.0908 | 16532559.3589 | 87.79% | 100% | 6603.191 | 3139.9192 | 47.55% | 100%
Source: C&I Standard Tracking Databases and Guidehouse analysis
*Lighting measures installed in parking garages were separated out from other projects since the waste heat factor for garages are 1.0, the coincidence factor is 1.0, and the HOU is assumed to be 8760
Participant Satisfaction with Standard Program (on a scale of 1 through 5, 1 being the lowest, 5 being the highest)
Program Component | 5 | 4 | 3 | 2 | 1 | Not Sure | Average Satisfaction (1-5)
Amount of rebate (n=56) | 62.5% | 21.43% | 10.71% | 3.571% | 0% | 1.786% | 4.4545
Time to receive the rebate (n=56) | 62.5% | 28.57% | 3.571% | 1.786% | 0% | 3.571% | 4.5741
Requirements to participate (n=56) | 69.64% | 21.43% | 7.143% | 0% | 1.786% | 0% | 4.5714
Program communications (n=56) | 60.71% | 28.57% | 7.143% | 0% | 1.786% | 1.786% | 4.4909
Application process (n=46) | 63.04% | 19.57% | 13.04% | 2.174% | 0% | 2.174% | 4.4667
Pre-approval process (n=10) | 40% | 60% | 0% | 0% | 0% | 0% | 4.4
Final approval process (n=10) | 50% | 50% | 0% | 0% | 0% | 0% | 4.5
Inspection process (n=1) | 100% | 0% | 0% | 0% | 0% | 0% | 5
Program representative (n=56) | 71.43% | 14.29% | 3.571% | 0% | 1.786% | 8.929% | 4.6863
Installation contractor (n=56) | 69.64% | 19.64% | 5.357% | 0% | 0% | 5.357% | 4.6792
Overall satisfaction (n=56) | 64.29% | 28.57% | 5.357% | 0% | 1.786% | 0% | 4.5357
Source: Guidehouse survey of participants; n = varies
Participant Satisfaction with Evergy (on a scale of 1 through 5, 1 being the lowest, 5 being the highest)
Program Component | 5 | 4 | 3 | 2 | 1 | Average Satisfaction (1-5)
Overall Satisfaction with Evergy | 71.43% | 21.43% | 5.357% | 1.786% | 0% | 4.6
Source: Guidehouse survey of participants; n = 56
Participant's Willingness to Participate in Evergy Rebate Program Again (on a scale of 1 through 5, 1 being "not at all likely", 5 being "very likely")
Program Component | 5 | 4 | 3 | 2 | 1 | Not Sure | Average Rating (1-5)
Willingness to Participate Again | 82.14% | 10.71% | 1.786% | 0% | 3.571% | 1.786% | 4.7091
Source: Guidehouse survey of participants; n = 56
Participant Has Recommended the Evergy Rebate Program to Colleagues or Friends
Program Component | Yes | No | Not Sure
Recommended Program to Others | 73.21% | 25% | 1.786%
Source: Guidehouse survey of participants; n = 56
Participant's Agreement with Statements about Program Ease and Information (on a scale of 1 through 5, 1 being "Strongly disagree" and 5 being "Strongly agree")
Program Component | 5 | 4 | 3 | 2 | 1 | Not Sure | Average Agreement (1-5)
The program is easy to work with and understand | 60.71% | 21.43% | 7.143% | 8.929% | 1.786% | 0% | 4.3036
When I had questions, I knew who to contact | 60.71% | 19.64% | 10.71% | 5.357% | 1.786% | 1.786% | 4.3455
I had enough information about measure eligibility and rebates to make decisions about which equipment to install. | 64.29% | 19.64% | 8.929% | 1.786% | 1.786% | 1.786% | 4.4909
Source: Guidehouse survey of participants; n = 56

## Business ESP - Custom
Evergy Services, Inc. (ESI) Evaluation, Measurement, and Verification Report – Commercial & Industrial Databook
Business Energy Savings Program - Custom: Data Tables
Executive Summary
Data is sourced to Guidehouse analysis unless otherwise noted.
Every Metro Program Savings Summary - PY3
| Gross |  |  | Net
| Reported Savings | Verified Savings | Realization Rate | MEEIA 3-Year Target | Verified Savings | % of MEEIA 3-Year Target Achieved
Energy at Customer Meter (kWh) | 9584680.6968 | 10383457.5709 | 108.3% | 30239803.0328 | 8472901.3778 | 28.02%
Coinc Demand at Customer Meter (kW) | 2058.0003 | 1836.1099 | 89.22% | 4833.6325 | 1498.2657 | 31%
Source: Program Tracking Database and Guidehouse analysis
Evergy Metro Program Savings Summary - Program to Date
| Gross |  |  | Net
| Reported Savings | Verified Savings | Realization Rate | MEEIA 3-Year Target | Verified Savings | % of MEEIA 3-Year Target Achieved
Energy at Customer Meter (kWh) | 34951434.7479 | 37747524.3758 | 108% | 30239803.0328 | 30597177.3078 | 101.2%
Coinc Demand at Customer Meter (kW) | 6928.7864 | 7195.4581 | 103.8% | 4833.6325 | 5830.0376 | 120.6%
Source: Program Tracking Database and Guidehouse analysis
Evergy MO West Program Savings Summary - PY3
| Gross |  |  | Net
| Reported Savings | Verified Savings | Realization Rate | MEEIA 3-Year Target | Verified Savings | % of MEEIA 3-Year Target Achieved
Energy at Customer Meter (kWh) | 18366395.7 | 18441487.4819 | 100.4% | 10016241.48 | 15048253.7852 | 150.2%
Coinc Demand at Customer Meter (kW) | 4461.6289 | 3761.9493 | 84.32% | 1586.6804 | 3069.7506 | 193.5%
Source: Program Tracking Database and Guidehouse analysis |  | 18281395.7
Evergy MO West Program Savings Summary - Program to Date
| Gross |  |  | Net
| Reported Savings | Verified Savings | Realization Rate | MEEIA 3-Year Target | Verified Savings | % of MEEIA 3-Year Target Achieved
Energy at Customer Meter (kWh) | 40270006.6739 | 39617107.5427 | 98.38% | 10016241.48 | 32246061.3081 | 321.9%
Coinc Demand at Customer Meter (kW) | 9184.4453 | 7497.4092 | 81.63% | 1586.6804 | 6104.4177 | 384.7%
Source: Program Tracking Database and Guidehouse analysis
Net to Gross Component Summary
Free Ridership | Participant Spillover | Non-Participant Spillover | NTGR
0.239 | 0.04 | 0.015 | 81.6%
Source: Guidehouse analysis PY2021
Evergy Metro Savings by Measure Type
Measure Type | Total Number of Projects | Reported Energy Savings (kWh) | Verified Energy Savings (kWh) | % of Total Verified Energy (%) | Reported Demand Savings (kW) | Verified Demand Savings (kW) | % of Total Verified Demand (%)
Air Conditioning and Heating | 74 | 3465151.0254 | 3621429.0556 | 36.15% | 740.5641 | 735.5938 | 35.98%
Lighting System Upgrades | 67 | 4178237.6714 | 4366675.8515 | 43.59% | 793.0499 | 787.7273 | 38.53%
Appliances | 6 | 293992 | 307251.0154 | 3.067% | 51.1579 | 50.8146 | 2.486%
Miscellaneous | 9 | 1647300 | 1721593.0964 | 17.19% | 473.2284 | 470.0523 | 22.99%
Total | 156 | 9584680.6968 | 10016949.0189 | 100% | 2058.0003 | 2044.188 | 100%
Source: Program Tracking Database and Guidehouse analysis
Evergy MO West Savings by Measure Type
Measure Type | Total Number of Projects | Reported Energy Savings (kWh) | Verified Energy Savings (kWh) | % of Total Verified Energy (%) | Reported Demand Savings (kW) | Verified Demand Savings (kW) | % of Total Verified Demand (%)
Air Conditioning and Heating | 34 | 8104010.51 | 7406198.0529 | 44.33% | 2553.867 | 2431.2043 | 57.24%
Lighting System Upgrades | 142 | 9695513.7905 | 8860661.6772 | 53.04% | 1809.6275 | 1722.7107 | 40.56%
Appliances | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Miscellaneous | 15 | 481695.4 | 440218.029 | 2.635% | 98.1344 | 93.421 | 2.2%
Total | 191 | 18281219.7005 | 16707077.7591 | 100% | 4461.6289 | 4247.336 | 100%
Source: Program Tracking Database and Guidehouse analysis
Additional Detail
End-of-Year Population and Sample Sizes
Stratum | Reported Energy Savings (kWh) | Reported Peak Demand Savings (kW) | Total Number of Projects | Projects in Sample | <<<< Sampled Savings
Certainty | 20250098 | 5061.3854 | 51 | 51
Large | 744035.182 | 141.8156 | 66 | 8
Small | 193955.388 | 36.2816 | 230 | 13
Total | 21188088.57 | 5239.4826 | 347 | 72
Source: C&I Custom Rebate Program Tracking Database and Guidehouse analysis
Note: Large projects account for at least 75% of total energy savings while total energy savings of all small projects are no more than 25%.
Evergy Metro - Energy Impacts at the Customer Meter For Sampled Projects
Stratum | Total Reported Energy Savings (kWh) | Total Verified Energy Savings (kWh) | Energy RR | Relative Precision at 90% Confidence (one-tailed)
Certainty | 3798803 | 4240789 | 111.6% | 0%
Large | 4274757.8378 | 4264554.5362 | 99.76% | 11.42%
Small | 1511119.859 | 1511605.4827 | 100% | 10.72%
Total | 9584680.6968 | 10016949.0189 | 104.5% | 5.057%
Source: C&I Custom Rebate Program Tracking Database and Guidehouse analysis
Evergy Metro - Coincident Demand Impacts at Customer Meter For Sampled Projects
Stratum | Total Reported Coincident Demand Savings (kW) | Total Verified Coincident Demand Savings (kW) | Coincident Demand RR | Relative Precision at 90% Confidence (one-tailed)
Certainty | 854.3345 | 737.8862 | 86.37% | 0%
Large | 893.8297 | 802.2963 | 89.76% | 22.44%
Small | 309.8361 | 295.9274 | 95.51% | 12.01%
Total | 2058.0003 | 1836.1099 | 89.22% | 9.536%
Evergy MO West - Energy Impacts at the Customer Meter For Sampled Projects
Stratum | Total Reported Energy Savings (kWh) | Total Verified Energy Savings (kWh) | Energy RR | Relative Precision at 90% Confidence (one-tailed)
Certainty | 16451295 | 16601663.6523 | 100.9% | 0%
Large | 506841.215 | 506841.215 | 100% | 0%
Small | 1323083.4855 | 1332982.6146 | 100.7% | 2.129%
Total | 18281219.7005 | 18441487.4819 | 100.9% | 0.3117%
Source: C&I Custom Rebate Program Tracking Database and Guidehouse analysis
Evergy MO West - Coincident Demand Impacts at Customer Meter For Sampled Projects
Stratum | Total Reported Coincident Demand Savings (kW) | Total Verified Coincident Demand Savings (kW) | Coincident Demand RR | Relative Precision at 90% Confidence (one-tailed)
Certainty | 4207.0509 | 3335.0358 | 79.27% | 0%
Large | 43.7736 | 25.908 | 59.19% | 0%
Small | 210.8044 | 401.0055 | 190.2% | 110.9%
Total | 4461.6289 | 3761.9493 | 84.32% | 29.9%
Source: C&I Custom Rebate Program Tracking Database and Guidehouse analysis
Project-Level Energy and Demand Savings and RRs
Premise ID | Project ID(s) | Reported kWh | Verified kWh | Realization Rate (kWh) | Reported kW | Verified kW | Realization Rate (kW)
8222807368 | 3633, 4181, 4182, 4183 | 9460157 | 9639464.2886 | 101.9% | 2488.42 | 1839.1695 | 73.91%
2697292819 | 3477, 4068 | 4073826 | 4020468.2538 | 98.69% | 1182.82 | 1144.0965 | 96.73%
7189546916 | 3698 | 2917312 | 2941731.1098 | 100.8% | 535.81 | 351.7698 | 65.65%
8229413590 | 4385, 4561 | 2514641 | 2956627 | 117.6% | 617.36 | 500.9078 | 81.14%
8470302578 | 3874 | 1284162 | 1284162 | 100% | 236.9784 | 236.9784 | 100%
1072969945 | 4141 | 294418.782 | 294412.3894 | 100% | 55.1075 | 39.0501 | 70.86%
2503717440 | 4089 | 240172 | 284737.0576 | 118.6% | 43.2121 | 49.1914 | 113.8%
5347374380 | 3529 | 209444.4 | 209444.4 | 100% | 43.5066 | 25.75 | 59.19%
7211133431 | 4238 | 80634.6 | 82103.7984 | 101.8% | 16.44 | 35.8897 | 218.3%
8429393562 | 4076 | 49432.356 | 49432.356 | 100% | 10.3544 | 10.3544 | 100%
2078341962 | 3974 | 43694.88 | 43724.808 | 100.1% | 5.7091 | 4.988 | 87.37%
7155795447 | 4096 | 20193.552 | 19478.736 | 96.46% | 3.7797 | 2.5704 | 68.01%
Source: C&I Custom Rebate Program Tracking Database and Guidehouse analysis
Project-Level Results for Sampled Projects
Nav. Site ID | Project Type | Energy RR (%) | Effect on Energy RR (%) | Demand RR (%) | Effect on Demand RR (%) | Reason for Discrepancy
8222807368 | 3633, 4181, 4182, 4183 | 101.9% | 0.8988% | 73.91% | 6.357% | Evaluators used the TRACE 3D v4 simulated hourly results to calculate the energy and demand savings. The slight increase in energy realization rate is possibly due to a small model software update between versions, as the evaluators made no changes to the modeling file.
2697292819 | 3477, 4068 | 98.69% | 1.028% | 96.73% | -4.604% | Evaluators previously reviewed the current Trace 3D model and made minor updates to the baseline lighting based on the application-listed PPF using the Guidehouse agriculture lighting baseline methodology. Final adjustments will be trued up when this project completes in 2023
7189546916 | 3698 | 100.8% | 0.3469% | 65.65% | 1.741% | Tracking used IECC 2012 & evaluation used IECC 2018. For lighting measures TRC and TRM hours of use were different.
8229413590 | 4385, 4561 | 117.6% | -1.962% | 81.14% | -0.02666% | The TRACE 3D Model was updated from version 4.13.207 to version 5.10.57 for the evaluator run, which did not affect the simulated lighting consumption but had a significant effect on the HVAC system due to how the modeling software handles air walls. The implementer/trade ally also simulated the model in v5 of TRACE 3D and produced nearly identical results to evaluators.
8470302578 | 3874 | 100% | 0.1942% | 100% | -0.903% | No significant changes to algorithms
1072969945 | 4141 | 100% | 0.04244% | 70.86% | 0.1071% | TRC used demand factor approach and evaluators used algorithms from the TRM and applied waste heat factor of demand = 1.22 and CF of 100%
2503717440 | 4089 | 118.6% | -0.1782% | 113.8% | -0.2736% | It appears that the ex ante calculation uses a varying waste heat factor value, resulting in a differing RR value. An estimated WHFe is outlined in the ex ante tab. The ex post value uses the WFHe deemed by the IL TRM. Due to the demand RR discrepancy, it can be assumed that the WHFd and CF follows different specifications as well.
5347374380 | 3529 | 100% | 0.03005% | 59.19% | 0.1821% | TRC used demand factor approach and evaluators used CFs from the TRM.
7211133431 | 4238 | 101.8% | 0.004537% | 218.3% | -0.4324% | Evaluators followed the TRM methodology and were not able to do a direct comparison with the vendor assumptions.
8429393562 | 4076 | 100% | 0.007038% | 100% | -0.03775% | No significant changes to algorithms
2078341962 | 3974 | 100.1% | 0.006078% | 87.37% | -0.007016% | TRC used demand factor approach and evaluators used CFs from the TRM. TRC is also applying the 2020 demand factor instead of the 2021 demand factor
7155795447 | 4096 | 96.46% | 0.006248% | 68.01% | 0.009336% | TRC used demand factor approach and evaluators applied hotel/motel waste heat factor and 100% CF
Source: C&I Custom Rebate Program Tracking Database and Guidehouse analysis

## Process Efficiency
Evergy Services, Inc. (ESI) Evaluation, Measurement, and Verification Report – Commercial & Industrial Databook
Process Efficiency: Data Tables
Executive Summary
Data is sourced to Guidehouse analysis unless otherwise noted. The program did not report savings in PY1 for either territory. The program did not report savings in PY2 for the Evergy Metro territory.
Evergy Metro Program Savings Summary - PY3
| Gross |  |  | Net
| Reported Savings | Verified Savings | Realization Rate | MEEIA 3-Year Target | Verified Savings | % of MEEIA Target Achieved
Energy at Customer Meter (kWh) | 25058 | 25058 | 100% | 19454539.392 | 19445.008 | 0.09995%
Coinc Demand at Customer Meter (kW) | 3.9293 | 3.9293 | 100% | 181.9584 | 3.0491 | 1.676%
Source: Program Tracking Database and Guidehouse analysis
Evergy Metro Program Savings Summary - Program to Date
| Gross |  |  | Net
| Reported Savings | Verified Savings | Realization Rate | MEEIA 3-Year Target | Verified Savings | % of MEEIA Target Achieved
Energy at Customer Meter (kWh) | 25058 | 25058 | 100% | 19454539.392 | 19445.008 | 0.09995%
Coinc Demand at Customer Meter (kW) | 3.9293 | 3.9293 | 100% | 181.9584 | 3.0491 | 1.676%
The program did not report savings in PY1 or PY2 for the Evergy Metro territory.
Source: Program Tracking Database and Guidehouse analysis
Evergy MO West Program Savings Summary - PY3
| Gross |  |  | Net
| Reported Savings | Verified Savings | Realization Rate | MEEIA 3-Year Target | Verified Savings | % of MEEIA Target Achieved
Energy at Customer Meter (kWh) | 337632 | 342926.7357 | 101.6% | 20470674.24 | 266111.1469 | 1.3%
Coinc Demand at Customer Meter (kW) | 52.9433 | 46.0552 | 86.99% | 227.448 | 35.7388 | 15.71%
Source: Program Tracking Database and Guidehouse analysis
Evergy MO West Program Savings Summary - Program to Date
| Gross |  |  | Net
| Reported Savings | Verified Savings | Realization Rate | MEEIA 3-Year Target | Verified Savings | % of MEEIA Target Achieved
Energy at Customer Meter (kWh) | 805427 | 793289.7357 | 98.49% | 20470674.24 | 716474.1469 | 3.5%
Coinc Demand at Customer Meter (kW) | 126.4433 | 112.3652 | 88.87% | 227.448 | 102.0488 | 44.87%
Source: Program Tracking Database and Guidehouse analysis
Net to Gross Component Summary
Free Ridership | Participant Spillover | Non-Participant Spillover | NTGR
0.239 | 0 | 0.015 | 77.6%
Source: Based on Custom PY2021 and PY2022 NTG results
Evergy Metro Savings by Measure Type
Measure Type | Total Number of Projects | Reported Energy Savings (kWh) | Verified Energy Savings (kWh) | % of Total Verified Energy (%) | Reported Demand Savings (kW) | Verified Demand Savings (kW) | % of Total Verified Demand (%)
Compressed Air Leaks | 2 | 25058 | 25058 | 100% | 3.9293 | 3.9293 | 100%
Total | 2 | 25058 | 25058 | 100% | 3.9293 | 3.9293 | 100%
Source: Program Tracking Database and Guidehouse analysis
Evergy MO West Savings by Measure Type
Measure Type | Total Number of Projects | Reported Energy Savings (kWh) | Verified Energy Savings (kWh) | % of Total Verified Energy (%) | Reported Demand Savings (kW) | Verified Demand Savings (kW) | % of Total Verified Demand (%)
Compressed Air Leaks | 1 | 337632 | 342926.7357 | 100% | 52.9433 | 46.0552 | 100%
Total | 1 | 337632 | 342926.7357 | 100% | 52.9433 | 46.0552 | 100%
Note on B44: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @Ariel Crowley updated to 0

## OEA
Evergy Services, Inc. (ESI) Evaluation, Measurement, and Verification Report – Commercial & Industrial Databook
Energy Analyzer: Data Tables
Executive Summary
Data is sourced to Guidehouse analysis unless otherwise noted.
The Online Energy Analyzer program did not claim any savings in PY2.
The Online Energy Analyzer program did not report any savings in PY1 or PY2 of MEEIA Cycle 3.

## MEEIA 3 Targets
EVERGY MEEIA 3 Savings Targets
EVERGY Metro
kWh Savings | PY1 | PY2 | PY3 | Total
Business Standard | 14019242.584 | 19107931.2873 | 20850203.5583 | 53977377.4297
Business Custom | 5216972.5209 | 11114231.3937 | 13908599.1182 | 30239803.0328
Business Process Efficiency | 3273111.072 | 7191745.92 | 8989682.4 | 19454539.392
Online Business Energy Audit | 0 | 0 | 0 | 0
| 22509326.1769 | 37413908.601 | 43748485.0766 | 103671719.8545
kW Savings | PY1 | PY2 | PY3 | Total
Business Standard | 2181.3606 | 3012.8919 | 3328.3623 | 8522.6148 | 0.1 | 0.066667
Business Custom | 833.8986 | 1776.5364 | 2223.1976 | 4833.6325 | 400
Business Process Efficiency | 24.4944 | 69.984 | 87.48 | 181.9584
Online Business Energy Audit |  |  |  | 0
| 3039.7536 | 4859.4122 | 5639.0399 | 13538.2057
EVERGY MO West
kWh Savings | PY1 | PY2 | PY3 | Total
Business Standard | 13647811.6702 | 16447376.8079 | 16551008.7209 | 46646197.1989
Business Custom | 2663601.48 | 3676320 | 3676320 | 10016241.48
Business Process Efficiency | 3618888.84 | 7639682.4 | 9212103 | 20470674.24
Online Business Energy Audit | 0 | 0 | 0 | 0
| 19930301.9902 | 27763379.2079 | 29439431.7209 | 77133112.9189
kW Savings | PY1 | PY2 | PY3 | Total
Business Standard | 2160.5438 | 2653.0255 | 2700.3204 | 7513.8897
Business Custom | 422.9424 | 581.869 | 581.869 | 1586.6804
Business Process Efficiency | 30.618 | 87.48 | 109.35 | 227.448
Online Business Energy Audit |  |  |  | 0
| 2614.1042 | 3322.3746 | 3391.5394 | 9328.0181