Before the Public Service Commission

Of the State of Missouri

	In the Matter of the Application of Kansas City Power & Light Company For a Variance from the Commission’s Rule and Kansas City Power & Light Company's Tariff that Each Require Separate Metering for a new building located at Bishop Spencer Place, 4301 Madison Avenue, Kansas City, Missouri. 

	))))))))
	Case No. EE-2003-0282

	
	
	


Electric  Meter Variance Committee Recommendation

COMES NOW the Electric Meter Variance Committee of the Missouri Public Service Commission (Committee) and for its recommendation states:

1. In the attached Memorandum, which is labeled Appendix A, the Electric Meter Variance Committee recommends that the Missouri Public Service Commission issue an order granting variances from the separate metering requirements of both 4 CSR 240-20.050 and KCPL Tariff Sheet No. 1 .19, Section 5 .03(b) to authorize the master metering of a new eight-story, 126-unit apartment building being built at Bishop Spencer Place, 4301 Madison Avenue, Kansas City, Missouri.  Additionally, the Committee recommends that the Commission order Kansas City Power & Light Company to file revised tariff sheets to list all variances from the Commission’s Rule 4 CSR 240-20.050 and KCPL Tariff Sheet No. 1.19, Section 5.03(b) that the Commission has granted, including these, if granted.

2. 4 CSR 240-20.050(2) provides:

Each residential and commercial unit in a multiple-occupancy building construction of which has begun after June 1, 1981 shall have installed a separate electric meter for each residential or commercial unit.

3. 4 CSR 240-20.050(6) provides:

The commission, in its discretion, may approve tariffs filed by an electric corporation which are more restrictive of master metering than the provisions of this rule.

Included in the tariff on file for Kansas City Power & Light Company at Tariff Sheet No. 1.19 is a section titled:  General Rules And Regulations Applying To Electric Service, Section 5.03 (b), which states, in part:

With respect to any multiple-occupancy premises, the Company will not suply [sic] electric service to the owner, lessee, or operator thereof, as the Customer of the Company, and permit redistribution by such Customer to his office or residential tenants therein, except for those premises being supplied such service on the effective date of this schedule (emphasis added).

The effective date of this schedule, Second Revised Sheet No. 1.19, is January 19, 1981.

4. The Commission’s rule is aimed at compliance with certain sections of the Public Utility Regulatory Policies Act of 1978 codified in Chapter sixteen of the United States Code.  That Chapter includes the provision following at 16 U.S.C. section 2625(d):

Master metering

Separate metering shall be determined appropriate for any new building for purposes of section 2623(b)(1) of this title if –

(1) there is more than one unit in such building,

(2) the occupant of each such unit has control over a portion of the electric energy used in such unit, and

(3) with respect to such portion of electric energy used in such unit, the long-run benefits to the electric consumers in such building exceed the costs of purchasing and installing separate meters in such building.

5. The new eight-story, 126-unit apartment building being built at Bishop Spencer Place, 4301 Madison Avenue, Kansas City, Missouri is being constructed for independent living for residents over the age of sixty; will have central heating and cooling systems for the apartments; and Bishop Spencer Place will pay all utilities except for individual resident telephone service.  The owner estimates that if required to separately meter each apartment, it would incur additional costs of approximately $87,000 (about $701.61 per apartment).  Based on the cost of $49.40 per apartment that Kansas City Power & Light Company estimated for separate metering in Case No. EO-2000-251, it would cost Kansas City Power & Light Company approximately $6,126 for it if the apartments are separately metered in this new building.  In an existing building, Bishop Spencer Place presently provides housing and services for residents over the age of sixty, in independent living apartments, assisted living suites or nursing home facilities.  

6. The Electric Meter Variance Committee met on May 5, 2003 and has considered the potential benefits to consumers of individual metering, i.e., the ability to directly receive the financial benefits of individual conservation and efficiency efforts and the potential for individual choice in selecting an electricity provider at some time in the future.  The Committee finds that these potential benefits are likely to be of little value to consumers living in these apartments.  Furthermore, since Bishop Spencer Place will be responsible for paying the electric bill(s), individual consumers would not directly receive the financial benefits of individual conservation and efficiency efforts in any event; and receiving, processing and paying separate bills for electric service would be unnecessary and costly.

7. Based on a review of Commission records, Kansas City Power & Light Company has no outstanding assessments and is current in its filing of annual reports.

WHEREFORE, the Electric Meter Variance Committee of the Missouri Public Service Commission recommends that the Commission grant variances from (1) the separate metering requirement of 4 CSR 240-20.050 and (2) the separate metering requirement of KCPL Tariff Sheet No. 1 .19, Section 5.03(b) to authorize the master metering of a new eight-story, 126-unit apartment building being built at Bishop Spencer Place, 4301 Madison Avenue, Kansas City, Missouri; and that the Commission order Kansas City Power & Light Company to file revised tariff sheets to list all variances from the Commission’s Rule 4 CSR 240-20.050 and KCPL Tariff Sheet No. 1.19, Section 5.03(b) that the Commission has granted, including these, if granted.







Respectfully submitted,








DANA K. JOYCE








General Counsel








/s/ Nathan Williams                                    







Nathan Williams

Senior Counsel



Missouri Bar No. 35512








Attorney for the Staff of the 








Missouri Public Service Commission








P. O. Box 360








Jefferson City, MO 65102








(573) 751-8702 (Telephone)








(573) 751-9285 (Fax)

nathanwilliams@psc.state.mo.us (e-mail)
Certificate of Service

I hereby certify that copies of the foregoing have been mailed, hand-delivered, transmitted by facsimile or emailed to all counsel of record this 5th day of May 2003.








/s/ Nathan Williams                                    
PAGE  

4

