MEMORANDUM

TO:		Missouri Public Service Commission Official Case File

Case No. EC-2005-0177, Complainant Therron Nowlin vs. AmerenUE

FROM:	Alan J. Bax, Energy Department – Engineering Analysis

/s/Lena Mantle 02-25-05______	/s/ Steven Dottheim  02/25/05

Energy Department / Date		General Counsel’s Office / Date

SUBJECT:	Staff Report

DATE:		February 23, 2005

# BACKGROUND

Mr. Therron Nowlin (Complainant), in this complaint filed December 20, 2004, asserts experiencing a high number of problems with the electric service historically provided by the Union Electric Company d/b/a AmerenUE (AmerenUE) at his residence located at 109 County Highway 468 in Steele, MO and at his business in downtown Steele, MO.  These electric service interruptions were especially numerous in September and October of 2004.  Mr. Nowlin also remarks about the significant time it takes for AmerenUE to restore service upon experiencing a problem, especially in comparison to the quality of the electric service provided and the associated response time of Pemiscot-Dunklin Electric Cooperative (PDEC), the electric service provider for Mr. Nowlin’s neighbors.  Mr. Nowlin concludes his formal complaint by requesting to be allowed to switch electric service providers for his residence from AmerenUE to PDEC.

AmerenUE filed an Answer to Mr. Nowlin’s complaint on January 20, 2005.  AmerenUE acknowledges that outages have occurred in the immediate area over the last ten plus years with an increase occurring within the Complainant’s area in September and October of 2004.  AmerenUE asserts to have made significant repairs to the electric facilities in the area that has improved the quality of service provided.  Nonetheless, AmerenUE concludes its Answer by saying that it does not oppose Mr. Nowlin’s desire to switch electric service providers given that PDEC has facilities immediately adjacent to Mr. Nowlin’s home as long as PDEC is willing to serve him.

PDEC filed an Amended Answer in this case on January 25, 2005.  PDEC asserts to not have sufficient information to address the allegations made by Mr. Nowlin in regards to the electric service provided by AmerenUE, nor how AmerenUE’s electric service compares to the electric service provided by PDEC to Mr. Nowlin’s neighbors.  Also included in the Amended Answer is an assurance that PDEC will provide electric service to Mr. Nowlin, should it be approved by the Missouri Public Service Commission (Commission), as well as an estimated cost to provide such service.

Staff filed an initial Staff Report in this case on February 4, 2005.  Staff stated that although it appears that both AmerenUE and PDEC are in agreement, and that a change in electric service providers, in this case, is not detrimental to the public interest, Staff desired to visit the area in order to verify the information provided in the case and file an additional report.

# DISCUSSION

The Staff conducted a visit to the area on February 17, 2005.  Mr. Nowlin’s residence at 109 County Highway 468 lies to the Northeast of the intersection of Cooter Road and County Highway 468, just outside the present city limits of Steele.  AmerenUE currently provides electric service to this residence from its nearby distribution feeder circuit located west of the residence across Cooter Road.  Neighboring homes that lie immediately east of Mr. Nowlin’s residence along County Highway 468 receive their electric service from PDEC, as well as a residence located directly across County Highway 468 from Mr. Nowlin’s address.  The existing PDEC facilities serving these residences will be utilized in providing electric service to Mr. Nowlin should the Commission approve Mr. Nowlin’s request to change electric service providers to PDEC.

Staff discussed with PDEC its extension policies in addition to prepared estimates to provide electric service, both underground and overhead, to Mr. Nowlin’s residence.  PDEC can effectively utilize its existing facilities to provide electric service either overhead or underground.  These estimates have been shared with Mr. Nowlin, who is leaning toward requesting underground service.  Regardless of the type of service installed, Mr. Nowlin is aware of the portion of the extension costs for which he will be held responsible.

As noted previously, AmerenUE acknowledges electrical service problems in the area, especially during September and October 2004.  AmerenUE has identified and made significant repairs to the facilities providing electric service in the area.  Most notable of these repairs was the replacement of the reclosing relay in the substation in Steele as previously noted.  AmerenUE has added or repaired lightning arrestors, installed additional switches, and walked the entire line providing power to the substation in Steele, replacing insulators and other equipment.  AmerenUE has reportedly contacted Mr. Nowlin a number of times to discuss these repairs and expressed an interest in retaining him as a customer.  Mr. Nowlin maintained his desire to switch electrical service providers, filing this formal complaint because AmerenUE initially refused to allow Mr. Nowlin to switch, a necessary prerequisite for seeking a change of electric service providers per 4 CSR 240-3.140.  As noted earlier, in its filing dated January 25, 2005, AmerenUE subsequently dropped their opposition to Mr. Nowlin’s request to change electric service providers.

In talking with Mr. Nowlin, he acknowledged that these reported steps taken by AmerenUE to improve the electric service appear to have been successful, both at his home and his business.  Despite the improvement, Mr. Nowlin remains reluctant to maintain AmerenUE as his electric service provider to his residence, preferring to seek a switch to PDEC.  Mr. Nowlin noted ten years of frustrations as his main reason to continue seeking a change in electric service providers, and saying his preference was for PDEC to provide underground service.  Mr. Nowlin did seem to be comfortable with the anticipated charges he would be responsible to pay to obtain power from PDEC.

## RECOMMENDATION

The requirements for filing an application to request a change of electric service providers are, in part, contained in 4 CSR 240-3.140.  One of these requirements is that the application is to include verified statements from both the current electric service provider and the desired electric service provider confirming their agreement to the proposed application.  In addition, since the reason for the application was noted to be service problems, the current electric service provider is to be afforded the opportunity to alleviate the service dilemma.  As previously noted, AmerenUE was reportedly initially opposed to allowing Mr. Nowlin to change electric service providers, since AmerenUE had taken steps to improve the electric service in the area.  Mr. Nowlin has acknowledged this improvement in the quality of service.  However, AmerenUE’s Answer filed on January 20, 2005 to Mr. Nowlin’s formal complaint application states that AmerenUE has dropped its opposition to Mr. Nowlin’s request to change electric service providers.  PDEC’s amended Answer filed January 25, 2005, includes a statement, specifically agreeing to accept Mr. Nowlin as a member should his request be approved by the Commission.  Mr. Nowlin’s residence is located outside the city limits of Steele and PDEC has facilities nearby to sufficiently provide electric service to Mr. Nowlin.  For the aforementioned reasons, Staff recommends that the Commission approve the requested change in electric service providers to the Complainant’s residence located at 109 County Highway 468, in Steele, MO as being in the public interest for reasons other than a rate differential.

AmerenUE is current on all assessment fees and annual report filings.  PDEC is not required to pay an assessment or file an annual report with the Commission.  The Staff is not aware of any other matter before the Commission that affects or is affected by this filing; however, the following cases are open that involve AmerenUE:

- EA-2005-0180 – 	CCN for Noranda

- EC-2002-1	 – 	Over Earnings Complaint

- EC-2005-0110  – 	Spigel Properties vs AmerenUE

- EE-2005-0220  – 	Cynthia Cline vs AmerenUE

- EO-2005-0034  – 	Sale of Transmission Lines

- EC-2005-0241  – 	Tipton Law Office vs. AmerenUE

- EM-96-14 	  – 	Experimental Alternative Regulation Plan

- EM-96-149 	  –  	Experimental Alternative Regulation Plan

- EO-2004-0108  – 	Metro East Transfer

- EW-2004-0583 – 	Tree Trimming Investigation