## Jobs > $500K in 2018
Expenditure | Project | Reason
605451.48 | MR U3 Transformer Explosion Protect | GSU Transformer Upgrade (safety)
569053.94 | Meramec Drainage Improvements | Facility upgrade
1971485.42 | SX DRY FLY ASH CONVERSION | ELG/CCR
1897519.56 | SX Dry Bottom Ash Conversion | ELG/CCR
1611152.06 | SX Wastewater Treatment ELG | ELG/CCR
1210346.73 | SX Coal Dust & Slurry Proce | ELG/CCR
1131982.01 | SX NERC CIP 5 Physical Security | Security
963943.65 | Sx1 Absorber Oxidation Air Agitator | Component Replacement
896930.99 | SX 800xA HMI LIFECYCLE UPGR | Component Replacement
859790.57 | SX - 1A ID Fan Hub Replacement | Component Replacement
542258.74 | SX Wi Fi Expansion | Communication Upgrade
21839106.78 | LBD Wastewater Treatmen ELG | ELG/CCR
18479420.38 | LBD U3 DRY BOTTOM ASH CONVERSION | ELG/CCR
16254734.66 | LBD DRY FLY ASH CONVERSION | ELG/CCR
12065726.05 | LBD U3 Reheater REPL | Component Replacement
6751395.13 | LBD U3 LOWER SLOPE REPL | Component Replacement
6572173.59 | LBD U1 Dry Bottom Ash Conv | ELG/CCR
3905703.65 | LBD PLANT 316 COMPLIANCE | Regulatory
3709985.28 | LBD U3 ID Fan Rotor Repl | Component Replacement
3673433.26 | LB-RI Critical Spare GSU | Critical spare part
2383696.69 | LBD U3 Coal Mill Transport Pipe Rep | Component Replacement
1738680.8 | LBD - U3 BCP Casing/Suction Valve R | Component Replacement
1686437.87 | LBD U2 DRY BOTTOM ASH CONV | ELG/CCR
1649041.38 | LBD U3 K LINE BREAKER REPL | Component Replacement
1483948.1 | LBD U3 AUX COOLING H2O COOLERS REPL | Component Replacement
1465256.71 | LBD U3 &4 Gas Conditioning | Component Upgrades
1414583.47 | LBD3 Valve Component Replacement | Component Replacement
1370301.99 | LBD U4 DRY ECON ASH CONVERS | ELG/CCR
1124233.32 | LBD U1 LOWER SLOPE REPL | Component Replacement
1084493.45 | LBD Fly Ash Pond Closure | ELG/CCR
1022210.05 | LBD - 1A&D BCP Casing&Suct Vlv Repl | Component Replacement
985159.64 | LBD U3 Air Preheater Basket Repl | Component Replacement
918322.8 | LABADIE U3 125 V DC System Repl. | Component Replacement
881371.84 | LBD U1-4 HMI LIFECYCLE UPGR | Component Replacement
857003.6 | LABADIE WATER TREATMENT CNTRLS | Component Replacement
789163.32 | LBD NERC CIP 5 Physical Security | Security
736072.28 | LBD U3 Instal 2 New Lances in HorSh | Component Upgrades
704461.4 | LBD - U3 Repl C ID Fan Inlet Vanes | Component Replacement
704230.97 | LBDS - U3 A&B FD Inlet Vanes | Component Replacement
650115.42 | LBD U3 Transformer Explosion Protec | GSU Transformer Upgrade (safety)
648070.87 | LBD U3 ADDL BLR CLNG DOORS | Component Upgrades
647883.35 | LBD - U3 CRH Safety Vent Stack Mods | Component Upgrades
617311.36 | LBD - U1 APH Hot Basket Repl | Component Replacement
568516.56 | LBD - U2 LOWER SLOPE REPL | Component Replacement
16926950.32 | RI - Wastewater Treatment ELG | ELG/CCR
11934014.08 | RI Dry Ash Handling System Retrofit | ELG/CCR
8578261 | RI U1 BOTTOM ASH MODS-SC | ELG/CCR
3935323.92 | RI-LB Critical Spare GSU | GSU Transformer Upgrade (safety)
3385406.85 | RUSH ISLAND U1 ESP REBUILD | Component Replacement
2390491.32 | RI U1 Economizer Strap Addition | Component Replacement
2123047.77 | RI 1 Valve Component & Actuator Rep | Component Replacement
1767999.06 | RI-Marketing Silo Ash Transfer Sys | Component Replacement
1064661.5 | RI U1 AUXILARY COOLERS | Component Replacement
972704.32 | RI U1 Air Preheater Basket Replacem | Component Replacement
938442.96 | RI Coal Receiving Electrical Racewa | Component Replacement
895275.47 | RI U1 Replace Blr Steam Cooled Spac | Component Replacement
868167.76 | RI Coal Dusting and Spillage Improv | Component Upgrades
828845.88 | Rush Island Wi Fi Expansion | Communication Upgrade
720186.71 | RI U1 BURNER REPLACEMENT (24) | Component Replacement
509087.16 | RI U1 TRB FOAM CLEANING SYS | Component Upgrades