## Tariff Rate
The Empire District Electric Company (d.b.a. Liberty)
Cogeneration Rate Calculation
January 2025
Line No. | Description: |  | Summer | Winter | Source
1. | Avoided Energy Cost |  | 0.031883 | 0.031721 | Calculation derived from EnCompass Model Data
2. | Transmission Loss Factor |  | 1.0393 | 1.0393 | 2021 Loss Study (2020 Data) performed pursuant to 20 CSR 4240-20.090(13).
3. | Cogeneration Purchase Rate |  | 0.033137 | 0.032969 | Calculated: Line 1 * Line 2
4. | Summer / Winter Differential |  | 0.5101%
Note: | Costs are averaged for 2025-2026 cost years.
Note: | The Summer period is the four months of June through September.
Note: | The Winter period is the remaining eight months.
Average Marginal Costs
|  | 2025 |  |  | 2026
| SUMMER | Avg Marg $ | Hours |  | Avg Marg $ | Hours
| Average Marginal Costs On-Peak | 36.1249 | 1360 |  | 37.4157 | 1392
| Average Marginal Costs Off-Peak | 26.7974 | 1568 |  | 28.3051 | 1536
|  |  | 2928 |  |  | 2928
WINTER
| Average Marginal Costs On-Peak | 34.7285 | 2720 |  | 36.3161 | 2704
| Average Marginal Costs Off-Peak | 27.7313 | 3112 |  | 29.1038 | 3128
|  |  | 5832 |  |  | 5832
AVOIDED ENERGY COST
( Marginal cost *on-peak/off-peak hours ) / total hours
| SUMMER | 2025 |  |  | 2026
| On-Peak | 16.7793 |  |  | 17.7878
| Off-Peak | 14.3505 |  |  | 14.8486 |  | 2025-2026 Average
|  | 31.1298 |  |  | 32.6364 |  | 31.8831
| WINTER | 2025 |  |  | 2026
| On-Peak | 16.1971 |  |  | 16.8379
| Off-Peak | 14.7976 |  |  | 15.6099 |  | 2025-2026 Average
|  | 30.9948 |  |  | 32.4478 |  | 31.7213
S: David Bussee

## Marginal Cost Summary
Assumptions
*Winter months are January-May, October - December
*Summer months are June-September
*On peak hours are M-F 06:00-22:00
*Off peak hours are M-F 00:00-06:00, 22:00-24:00, weekends,
and NERC holidays
Average Marginal Costs $/Mwh
Year | Annual Avg Marg Cost | Summer On-Peak Avg Marg Cost | Summer Off-Peak Avg Marg Cost | Winter On-Peak Avg Marg Cost | Winter Off-Peak Avg Marg Cost
2025 | 31.657 | 36.1249 | 26.7974 | 34.7285 | 27.7313
2026 | 33.0889 | 37.4157 | 28.3051 | 36.3161 | 29.1038
2027 | 32.2611 | 37.5292 | 27.5196 | 35.4172 | 27.7868
2028 | 30.8134 | 36.5008 | 26.2817 | 33.8296 | 26.1667
2029 | 30.7643 | 36.5877 | 26.2501 | 33.8058 | 26.1296
2030 | 31.4385 | 38.1714 | 27.0227 | 33.9578 | 26.7204
2025
|  | Total | % of | Average
Period |  | Hours | Hours | Marg Cost
Summer On-Peak |  | 1360 | 15.53% | 36.1249
Summer Off-Peak |  | 1568 | 17.9% | 26.7974
Total Summer |  | 2928 | 33.42% | 31.1606
Winter On-Peak |  | 2720 | 31.05% | 34.7285
Winter Off-Peak |  | 3112 | 35.53% | 27.7313
Total Winter |  | 5832 | 66.58% | 32.0116
Total |  | 8760 | 100% | 31.657
2026
|  | Total | % of | Average
Period |  | Hours | Hours | Marg Cost
Summer On-Peak |  | 1392 | 15.89% | 37.4157
Summer Off-Peak |  | 1536 | 17.53% | 28.3051
Total Summer |  | 2928 | 33.42% | 32.2723
Winter On-Peak |  | 2704 | 30.87% | 36.3161
Winter Off-Peak |  | 3128 | 35.71% | 29.1038
Total Winter |  | 5832 | 66.58% | 33.6722
Total |  | 8760 | 100% | 33.0889
2027
|  | Total | % of | Average
Period |  | Hours | Hours | Marg Cost
Summer On-Peak |  | 1376 | 15.71% | 37.5292
Summer Off-Peak |  | 1552 | 17.72% | 27.5196
Total Summer |  | 2928 | 33.42% | 31.6865
Winter On-Peak |  | 2720 | 31.05% | 35.4172
Winter Off-Peak |  | 3112 | 35.53% | 27.7868
Total Winter |  | 5832 | 66.58% | 32.6715
Total |  | 8760 | 100% | 32.2611
2028
|  | Total | % of | Average
Period |  | Hours | Hours | Marg Cost
Summer On-Peak |  | 1360 | 15.48% | 36.5008
Summer Off-Peak |  | 1568 | 17.85% | 26.2817
Total Summer |  | 2928 | 33.33% | 30.5039
Winter On-Peak |  | 2720 | 30.97% | 33.8296
Winter Off-Peak |  | 3136 | 35.7% | 26.1667
Total Winter |  | 5856 | 66.67% | 31.0346
Total |  | 8784 | 100% | 30.8134
2029
|  | Total | % of | Average
Period |  | Hours | Hours | Marg Cost
Summer On-Peak |  | 1344 | 15.34% | 36.5877
Summer Off-Peak |  | 1584 | 18.08% | 26.2501
Total Summer |  | 2928 | 33.42% | 30.319
Winter On-Peak |  | 2736 | 31.23% | 33.8058
Winter Off-Peak |  | 3096 | 35.34% | 26.1296
Total Winter |  | 5832 | 66.58% | 31.0824
Total |  | 8760 | 100% | 30.7643
2030
|  | Total | % of | Average
Period |  | Hours | Hours | Marg Cost
Summer On-Peak |  | 1344 | 15.34% | 38.1714
Summer Off-Peak |  | 1584 | 18.08% | 27.0227
Total Summer |  | 2928 | 33.42% | 31.3223
Winter On-Peak |  | 2736 | 31.23% | 33.9578
Winter Off-Peak |  | 3096 | 35.34% | 26.7204
Total Winter |  | 5832 | 66.58% | 31.5215
Total |  | 8760 | 100% | 31.4385

## Price Pivot
HIGHLY CONFIDENTIAL 20 CSR 4240-2.135(4)

## Price Data
HIGHLY CONFIDENTIAL 20 CSR 4240-2.135(4)

## Hour Data
HIGHLY CONFIDENTIAL 20 CSR 4240-2.135(4)

## Load & Capability-10Yr
Liberty - Empire District Electric
Load and Capability Forecast
Based on Load Forecast 2025-2035
HIGHLY CONFIDENTIAL 20 CSR 4240-2.135(4)
Summer | [11 empty] | Winter
Year | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | Year | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Projected : | [11 empty] | Projected :
Gross Peak(1) | [11 empty] | Gross Peak(1)
Interruptible | [11 empty] | Interruptible
Net Peak with Interruptible | [11 empty] | Net Peak with Interruptible
Iatan | [11 empty] | Iatan
Iatan 2 | [11 empty] | Iatan 2
Plum Point (own) | [11 empty] | Plum Point (own)
Riverton 10 | [11 empty] | Riverton 10
Riverton 11 | [11 empty] | Riverton 11
Riverton 12 C.C. | [11 empty] | Riverton 12 C.C.
Riverton CT Replacement(3) | [11 empty] | Riverton CT Replacement(3)
Energy Center 1 (5) | [11 empty] | Energy Center 1 (5)
Energy Center 2 (5) | [11 empty] | Energy Center 2 (5)
Energy Center 3 | [11 empty] | Energy Center 3
Energy Center 4 | [11 empty] | Energy Center 4
State Line 1 | [11 empty] | State Line 1
State Line C.C. | [11 empty] | State Line C.C.
Ozark Beach (16 MW) | [11 empty] | Ozark Beach (16 MW)
Plum Point PPA (50 MW) | [11 empty] | Plum Point PPA (50 MW)
Elk River Wind Farm PPA (150 MW)(2) | [11 empty] | Elk River Wind Farm PPA (150 MW)(2)
Meridian Way Windfarm PPA (105 MW)(2) | [11 empty] | Meridian Way Windfarm PPA (105 MW)(2)
Neosho Ridge Wind (301 MW)(2) | [11 empty] | Neosho Ridge Wind (301 MW)(2)
North Fork Ridge Wind (149 MW)(2) | [11 empty] | North Fork Ridge Wind (149 MW)(2)
King's Point Wind (149 MW)(2) | [11 empty] | King's Point Wind (149 MW)(2)
Utility-Scale Solar(3) | [11 empty] | Utility-Scale Solar(3)
System Sale | [11 empty] | System Sale
Total Capacity | [11 empty] | Total Capacity
Reserve Margin Required(4) | [11 empty] | Reserve Margin Required(4)
Capacity Margin Required | [11 empty] | Capacity Margin Required
Capacity Responsibility | [11 empty] | Capacity Responsibility
Capacity Balance | [11 empty] | Capacity Balance
Reserve Margin | [11 empty] | Reserve Margin
Capacity Margin | [11 empty] | Capacity Margin
*Performance Based Accreditation estimates used for thermal units beginning in 2026
(1) New Community Solar and Distributed Solar projects (per 2022 IRP) are included as a reduction to peaks and load
(2) Current accreditation methodology for wind resources in 2025, 2024 ELCC study results for 2026 and beyond.
(3) From 2022 IRP; 2025 IRP in development.
(4) Planning reserve margin estimates from SPP beginning in 2026.
(5) The 2025 IRP is still under development and retirements of existing resources are still being analyzed. For purposes of this report Energy Center Units 1-2 are still operating through 2035.
CM = (Total Cap - Peak)/Total Cap
RM = (Total Cap - Peak)/Peak

## Avoided Capacity
| SPP CONE |  | Avoided Capacity
| $/kW-yr | Months | $/kW-month
| 85.61 | 12 | 7.1342
S: David Bussee
Note: Utilized to obtain Prior Year Avoided Capacity

## 2023 NSI
THE EMPIRE DISTRICT ELECTRIC COMPANY -- SUMMARY OF FUEL AND PURCHASED POWER
YEAR TO DATE - DECEMBER 2023
HIGHLY CONFIDENTIAL 20 CSR 4240-2.135(4)
| Peak (MW) | A
B
YEAR TO DATE - DECEMBER 2023
|  |  | GENERATION COST |  |  | REVENUE |  | NET
|  |  | MWH | $ | $/MWH | $ | $/MWH | $ | $/MWH
GENERATING UNITS | Iatan 1 | A
B
| Iatan 2 | A
B
| Plum Point Own | A
B
| Riverton 12 (CC) | A
B
| Riverton 10-11 | A
B
| EC 1-2 | A
B
| EC 3-4 | A
B
| State Line 1 | A
B
| State Line CC | A
B
| Nat. Gas Trans/Stor | A
B
| TOTAL THERMAL | A
B
| Ozark Beach | A
B
| North Fork Ridge | A
B
| Kings Point | A
B
| Neosho Ridge | A
B
| TOTAL RENEWABLES | A
B
| TOTAL OWNED GENERATION | A
B
PPA | Plum Point PPA | A
B
| Elk River PPA | A
B
| Meridian Way PPA | A
B
| Spot/MISO/Other | A
B
| TOTAL PPA | A
B
| Load Adjustment | A
B
RESOURCE | Resettlements/Adjustments | A
B
| Capacity | A
B
| TOTAL W DMD | A
B
| TOTAL W/O DMD | A
B
LOAD CHARGES | SPP Chg - EDE Load | A
B
| Ancillary/Other | A
B
| ARR/TCR/FTR (SPP/MISO) | A
B
| Transmission | A
B
| NATIVE LOAD COST | A
B
NET FPP
| NET FPP W DMD | A
B
| NET FPP W/O DMD | A
B
MO FAC (Total Company Basis):
TRANS | Transmission Exp | A
B
| Transmission Rev | A
B
*MO FAC Base: $8.70